## calibration
| x100 | x50 | x20 | x10 | x5 | x0
Fluoride | 0.2 | 0.4 | 1 | 2 | 4 | 20
Chloride | 1 | 2 | 5 | 10 | 20 | 100
Nitrite | 1 | 2 | 5 | 10 | 20 | 100
Bromide | 1 | 2 | 5 | 10 | 20 | 100
Nitrate | 1 | 2 | 5 | 10 | 20 | 100
Phosphate | 2 | 4 | 10 | 20 | 40 | 200
Sulfate | 1 | 2 | 5 | 10 | 20 | 100

## IC_101123_F
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_F_ calib_ppm | c_F_sample_ppm | c_F_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 10.11.2023 | 1 | 0 |  |  | 0 |  |  | DI Water
Cal 2 | x 5 |  |  |  | 10.11.2023 | 1 | 5 |  |  | 4 |  |  | 1 mL in 5
Cal 3 | x 10 |  |  |  | 10.11.2023 | 1 | 10 |  |  | 2 |  |  | 0.5 mL in 5
Cal 4 | x 20 |  |  |  | 10.11.2023 | 1 | 20 |  |  | 1 |  |  | 0.5 mL in 10
Cal 5 | x 50 |  |  |  | 10.11.2023 | 1 | 50 |  |  | 0.4 |  |  | 0.2 mL in 10
Cal 6 | x 100 |  |  |  | 10.11.2023 | 1 | 100 |  |  | 0.2 |  |  | 0.1 mL in 10
1 | Blank |  |  |  | 10.11.2023 | 1 | 0 |  |  | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 10.11.2023 | 1 | 20 |  |  | 1 |  |  | x20 dil
3 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | 10 | [5 empty] | 0 50 Top Triplicate a
4 | 0-50-T-b | 0 | 50 | Tb | 10.11.2023 | 1 | 10 | [5 empty] | 0 50 Top Triplicate b
5 | 0-50-T-c | 0 | 50 | Tc | 10.11.2023 | 1 | 10 | [5 empty] | 0 50 Top Triplicate c
6 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | 10 | [5 empty] | 0 70 Bottom
7 | 20-60-B-a | 20 | 60 | Ba | 10.11.2023 | 1 | 10 | [5 empty] | 20 60 Bottom Triplicate a
8 | 20-60-B-b | 20 | 60 | Bb | 10.11.2023 | 1 | 10 | [5 empty] | 20 60 Bottom Triplicate b
9 | 20-60-B-c | 20 | 60 | Bc | 10.11.2023 | 1 | 10 | [5 empty] | 20 60 Bottom Triplicate c
10 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | 10 | [5 empty] | 20 80 Bottom
11 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | 10 | [5 empty] | 20 70 Bottom
12 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | 10 | [5 empty] | 20 90 Top
13 | PB |  |  |  | 10.11.2023 | 1 | 0 | [5 empty] | Procedural Blank
14 | Cal Check |  |  |  | 10.11.2023 | 1 | 20 |  |  | 1 |  |  | x20 dil
15 | Blank |  |  |  | 10.11.2023 | 1 | 0 |  |  | 0 |  |  | DI Water

## IC_101123_Cl
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | c_Cl_calc_ppm | c_Cl_measure_ppm | dilution_factor | c_Cl_calc_undil_ppm | c_Cl_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | [5 empty] | Linear Model of Cl Calibration
Cal 1 | NA |  |  |  | 10.11.2023 | 1 | NA | NA | 0 | NA | NA | 0 |  |  | Instrument Issues |  | Cal 2 | Blank | 10.11.2023 | 1 | 0 | 3.67 | 0.0211 | 0 | [5 empty] | m | c
Cal 2 | Blank |  |  |  | 10.11.2023 | 1 | 3.67 | 0.0211 | 0 | -0.024031 | -0.0345 | 0 |  |  | DI Water |  | Cal 3 | x 5 | 10.11.2023 | 1 | 5 | 3.673 | 3.7856 | 20 |  |  |  |  | m | 0.18764 | 0.025609 | intercept
Cal 3 | x 5 |  |  |  | 10.11.2023 | 1 | 3.673 | 3.7856 | 20 | 20.0385 | 20.0431 | 5 |  |  | 1 mL in 5 |  | Cal 4 | x 10 | 10.11.2023 | 1 | 10 | 3.67 | 1.8789 | 10 |  |  |  |  | Std error of X | 0.0011328 | 0.010647 | Std error of intercept
Cal 4 | x 10 |  |  |  | 10.11.2023 | 1 | 3.67 | 1.8789 | 10 | 9.8769 | 9.874 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 20 | 10.11.2023 | 1 | 20 | 3.67 | 0.9743 | 5 |  |  |  |  | R^2 | 0.99985 | 0.019269 | Std error of Y estimate
Cal 5 | x 20 |  |  |  | 10.11.2023 | 1 | 3.67 | 0.9743 | 5 | 5.056 | 5.0492 | 20 |  |  | 0.5 mL in 10 |  | Cal 6 | x 50 | 10.11.2023 | 1 | 50 | 3.67 | 0.4248 | 2 |  |  |  |  | F-statistic | 27434.9667 | 4 | Degrees of freedom
Cal 6 | x 50 |  |  |  | 10.11.2023 | 1 | 3.67 | 0.4248 | 2 | 2.1275 | 2.1185 | 50 |  |  | 0.2 mL in 10 |  | 1 | x 100 | 10.11.2023 | 1 | 100 | 3.67 | 0.1992 | 1 |  |  |  |  | Regression Sum of Squares | 10.1869 | 0.0014852 | Residual sum of Squares
1 | x 100 |  |  |  | 10.11.2023 | 1 | 3.67 | 0.1992 | 1 | 0.92514 | 0.9152 | 100 |  |  | 0.1 mL in 10
2 | Blank |  |  |  | 10.11.2023 | 1 | 3.67 | 0.1344 |  | 0.57979 | 0.5696 | 0 |  |  | DI Water
3 | Cal Check |  |  |  | 10.11.2023 | 1 | 3.67 | 1.0947 |  | 5.6976 | 5.6914 | 20 |  |  | x20 dil
4 | 0-50-T | 0 | 50 | T | 10.11.2023 | 1 | 3.669 | 0.1744 |  | 0.79297 | 0.7832 | 10 | 7.9297 | 7.832 | 0 50 Top Replicate | LOD & LOQ |  | LOD | LOQ
7 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | 3.663 | 0.1063 |  | 0.43003 | 0.4198 | 10 | 4.3003 | 4.198 | 0 70 Bottom |  | Peak Area | 0.15956 | 0.20708
8 | 20-60-B | 20 | 60 | B | 10.11.2023 | 1 | 3.6657 | 0.0974 |  | 0.3826 | 0.3724 | 10 | 3.826 | 3.724 | 20 60 Bottom Replicate |  | Calc Conc ppm | 0.7139 | 0.96714
11 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | 3.67 | 0.164 |  | 0.73754 | 0.726 | 10 | 7.3754 | 7.26 | 20 80 Bottom |  | Measure conc ppm | 0.70171 | 0.95118
12 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | 3.67 | 0.084 |  | 0.31119 | 0.302 | 10 | 3.1119 | 3.02 | 20 70 Bottom
13 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | 3.67 | 0.11 |  | 0.44975 | 0.44 | 10 | 4.4975 | 4.4 | 20 90 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
14 | PB |  |  |  | 10.11.2023 | 1 | 3.66 | 0.097 |  | 0.38047 | 0.368 | 0 |  |  | Procedural Blank |  | Retention time | 3.6689 | 3.67 | 0.0031204 | 0.085051 | 9.7369e-06 | 3.673 | 3.66 | 0.013 | 17 | 0.00075681
15 | Cal Check |  |  |  | 10.11.2023 | 1 | 3.67 | 1.113 |  | 5.7952 | 5.789 | 20 |  |  | x20 dil |  | Peak Area Cal Checks | 1.1038 | 1.1038 | 0.01294 | 1.1723 | 0.00016744 | 1.113 | 1.0947 | 0.0183 | 2 | 0.00915
16 | Blank |  |  |  | 10.11.2023 | 1 | 3.67 | 0.144 |  | 0.63095 | 0.62 | 0 |  |  | DI Water |  | Calc Conc Cal Checks | 5.7464 | 5.7464 | 0.068963 | 1.2001 | 0.0047559 | 5.7952 | 5.6976 | 0.097528 | 2 | 0.048764
[17 empty] | Measure Conc Cal Checks | 5.7402 | 5.7402 | 0.069014 | 1.2023 | 0.0047629 | 5.789 | 5.6914 | 0.0976 | 2 | 0.0488
[17 empty] | Peak Area Blanks | 0.1392 | 0.1392 | 0.0067882 | 4.8766 | 4.608e-05 | 0.144 | 0.1344 | 0.0096 | 2 | 0.0048
[17 empty] | Calc Conc Blanks | 0.60537 | 0.60537 | 0.036177 | 5.976 | 0.0013088 | 0.63095 | 0.57979 | 0.051162 | 2 | 0.025581
[17 empty] | Measure Conc Blanks | 0.5948 | 0.5948 | 0.035638 | 5.9916 | 0.0012701 | 0.62 | 0.5696 | 0.0504 | 2 | 0.0252
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 5.056 | 5.0492 | 100 | 1 | 5 | 100.984 | 101.1192
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 5.7464 | 5.7402 | 100 | 1 | 5 | 114.804 | 114.9278
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.9743 | 1.1038 | 5.056 | 5.0492 | 5.7464 | 5.7402 | 88.2638 | 87.9851 | 87.9621
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_calc_ppm | c_Cl_measure_ppm
[17 empty] | 4 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | 3.67 | 0.1375 | 0.59631 | 0.5866
[17 empty] | 5 | 0-50-T-b | 0 | 50 | Tb | 10.11.2023 | 1 | 3.67 | 0.152 | 0.67359 | 0.6637
[17 empty] | 6 | 0-50-T-c | 0 | 50 | Tc | 10.11.2023 | 1 | 3.667 | 0.2337 | 1.109 | 1.0993
[17 empty] | 8 | 20-60-B-a | 20 | 60 | Ba | 10.11.2023 | 1 | 3.663 | 0.0943 | 0.36608 | 0.3558
[17 empty] | 9 | 20-60-B-b | 20 | 60 | Bb | 10.11.2023 | 1 | 3.667 | 0.0952 | 0.37088 | 0.3608
[17 empty] | 10 | 20-60-B-c | 20 | 60 | Bc | 10.11.2023 | 1 | 3.667 | 0.1027 | 0.41085 | 0.4006
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 0-50-T-a | 0 | 50 | Ta | 0.1744 | 0.152 | 0.051865 | 29.7388 | 0.0026899 | 0.2337 | 0.1375 | 0.0962 | 3 | 0.029944
[17 empty] | c_Cl_calc_ppm | 0-50-T-b | 0 | 50 | Tb | 0.79297 | 0.67359 | 0.27641 | 34.8574 | 0.076401 | 1.109 | 0.59631 | 0.51269 | 3 | 0.15958
[17 empty] | c_Cl_measure_ppm | 0-50-T-c | 0 | 50 | Tc | 0.7832 | 0.6637 | 0.27645 | 35.2977 | 0.076426 | 1.0993 | 0.5866 | 0.5127 | 3 | 0.15961
[17 empty] | peak_area_usmin | 20-60-B-a | 20 | 60 | Ba | 0.0974 | 0.0952 | 0.0046119 | 4.7351 | 2.127e-05 | 0.1027 | 0.0943 | 0.0084 | 3 | 0.0026627
[17 empty] | c_Cl_calc_ppm | 20-60-B-b | 20 | 60 | Bb | 0.3826 | 0.37088 | 0.024579 | 6.4241 | 0.00060412 | 0.41085 | 0.36608 | 0.044767 | 3 | 0.014191
[17 empty] | c_Cl_measure_ppm | 20-60-B-c | 20 | 60 | Bc | 0.3724 | 0.3608 | 0.02455 | 6.5923 | 0.00060268 | 0.4006 | 0.3558 | 0.0448 | 3 | 0.014174
Note on B5: KNOBLAUCH Alexandra: Peak area overestimated
Note on B6: KNOBLAUCH Alexandra: Peak area overestimated
Note on B7: KNOBLAUCH Alexandra: Peak area overestimated
Note on B9: KNOBLAUCH Alexandra: Peak area overestimated
Note on B10: KNOBLAUCH Alexandra: Peak area overestimated
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B12: KNOBLAUCH Alexandra: Beyond Calibration range, use diluted peak from 231123
Note on B13: KNOBLAUCH Alexandra: overestimated peak area
Note on B14: KNOBLAUCH Alexandra: Peak area overestimated
Note on B17: KNOBLAUCH Alexandra: Peak area overestimated
Note on B18: KNOBLAUCH Alexandra: overestimated peak area
Note on B19: KNOBLAUCH Alexandra: Peak area overestimated
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks
Note on U38: KNOBLAUCH Alexandra: Peak area overestimated

## IC_101123_Nitrite
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrite_ calib_ppm | c_Nitrite_calc_ppm | c_Nitrite_measure_ppm | dilution_factor | c_Nitrite_calc_undil_ppm | c_Nitrite_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Nitrite_ calib_ppm | [5 empty] | Linear Model of Nitrite Calibration
Cal 1 | NA |  |  |  | 10.11.2023 | 1 | NA | NA | 0 | NA | NA | 0 |  |  | Instrument Issues |  | Cal 2 | Blank | 10.11.2023 | 1 | 0 | 0 | 0 | 0 | [5 empty] | m | c
Cal 2 | Blank |  |  |  | 10.11.2023 | 1 | 0 | 0 | 0 | 0.44813 | 0 | 0 |  |  | DI Water |  | Cal 3 | x 5 | 10.11.2023 | 1 | 5 | 4.187 | 2.0341 | 20 |  |  |  |  | m | 0.10333 | -0.046306 | intercept
Cal 3 | x 5 |  |  |  | 10.11.2023 | 1 | 4.187 | 2.0341 | 20 | 20.1336 | 20.1314 | 5 |  |  | 1 mL in 5 |  | Cal 4 | x 10 | 10.11.2023 | 1 | 10 | 4.187 | 0.9602 | 10 |  |  |  |  | Std error of X | 0.002432 | 0.022857 | Std error of intercept
Cal 4 | x 10 |  |  |  | 10.11.2023 | 1 | 4.187 | 0.9602 | 10 | 9.7407 | 9.7161 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 20 | 10.11.2023 | 1 | 20 | 4.183 | 0.4708 | 5 |  |  |  |  | R^2 | 0.99779 | 0.041368 | Std error of Y estimate
Cal 5 | x 20 |  |  |  | 10.11.2023 | 1 | 4.183 | 0.4708 | 5 | 5.0044 | 4.9688 | 20 |  |  | 0.5 mL in 10 |  | Cal 6 | x 50 | 10.11.2023 | 1 | 50 | 4.183 | 0.1836 | 2 |  |  |  |  | F-statistic | 1805.2226 | 4 | Degrees of freedom
Cal 6 | x 50 |  |  |  | 10.11.2023 | 1 | 4.183 | 0.1836 | 2 | 2.225 | 2.1838 | 50 |  |  | 0.2 mL in 10 |  | 1 | x 100 | 10.11.2023 | 1 | 100 | 0 | 0 | 1 |  |  |  |  | Regression Sum of Squares | 3.0892 | 0.0068451 | Residual sum of Squares
1 | x 100 |  |  |  | 10.11.2023 | 1 | 0 | 0 | 1 | 0.44813 | 0 | 100 |  |  | 0.1 mL in 10
2 | Blank |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water
3 | Cal Check |  |  |  | 10.11.2023 | 1 | 4.187 | 0.3453 |  | 3.7899 | 3.7519 | 20 |  |  | x20 dil
4 | 0-50-T | 0 | 50 | T | 10.11.2023 | 1 | NA | NA |  | NA | NA | 10 | NA | NA | 0 50 Top Replicate | LOD & LOQ |  | LOD | LOQ
7 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | NA | NA |  | NA | NA | 10 | NA | NA | 0 70 Bottom |  | Peak Area | #DIV/0! | #DIV/0!
8 | 20-60-B | 20 | 60 | B | 10.11.2023 | 1 | NA | NA |  | NA | NA | 10 | NA | NA | 20 60 Bottom Replicate |  | Calc Conc ppm | #DIV/0! | #DIV/0!
11 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | NA | NA |  | NA | NA | 10 | NA | NA | 20 80 Bottom |  | Measure conc ppm | #DIV/0! | #DIV/0!
12 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | NA | NA |  | NA | NA | 10 | NA | NA | 20 70 Bottom
13 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | NA | NA |  | NA | NA | 10 | NA | NA | 20 90 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
14 | PB |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | Procedural Blank |  | Retention time | 4.185 | 4.185 | 0.0021909 | 0.052351 | 4.8e-06 | 4.187 | 4.183 | 0.004 | 6 | 0.00089443
15 | Cal Check |  |  |  | 10.11.2023 | 1 | 4.183 | 0.3489 |  | 3.8247 | 3.7866 | 20 |  |  | x20 dil |  | Peak Area Cal Checks | 0.3471 | 0.3471 | 0.0025456 | 0.73339 | 6.48e-06 | 0.3489 | 0.3453 | 0.0036 | 2 | 0.0018
16 | Blank |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water |  | Calc Conc Cal Checks | 3.8073 | 3.8073 | 0.024636 | 0.64706 | 0.00060691 | 3.8247 | 3.7899 | 0.03484 | 2 | 0.01742
[17 empty] | Measure Conc Cal Checks | 3.7692 | 3.7692 | 0.024537 | 0.65097 | 0.00060204 | 3.7866 | 3.7519 | 0.0347 | 2 | 0.01735
[17 empty] | Peak Area Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | Calc Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | Measure Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 5.0044 | 4.9688 | 102 | 1 | 5.1 | 97.4275 | 98.1258
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 3.8073 | 3.7692 | 100 | 1 | 5 | 75.385 | 76.1456
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.4708 | 0.3471 | 5.0044 | 4.9688 | 3.8073 | 3.7692 | 135.6381 | 131.4434 | 131.8246
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrite_calc_ppm | c_Nitrite_measure_ppm
[17 empty] | 4 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 5 | 0-50-T-b | 0 | 50 | Tb | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 6 | 0-50-T-c | 0 | 50 | Tc | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 8 | 20-60-B-a | 20 | 60 | Ba | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 9 | 20-60-B-b | 20 | 60 | Bb | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 10 | 20-60-B-c | 20 | 60 | Bc | 17.11.2023 | 1 | NA | NA | NA | NA
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 0-50-T-a | 0 | 50 | Ta | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_calc_ppm | 0-50-T-b | 0 | 50 | Tb | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_measure_ppm | 0-50-T-c | 0 | 50 | Tc | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | peak_area_usmin | 20-60-B-a | 20 | 60 | Ba | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_calc_ppm | 20-60-B-b | 20 | 60 | Bb | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_measure_ppm | 20-60-B-c | 20 | 60 | Bc | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
Note on B5: KNOBLAUCH Alexandra: Peak area overestimated
Note on B6: KNOBLAUCH Alexandra: Peak area overestimated
Note on B7: KNOBLAUCH Alexandra: Peak area overestimated
Note on B9: KNOBLAUCH Alexandra: Peak area overestimated
Note on B10: KNOBLAUCH Alexandra: Peak area overestimated
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B13: KNOBLAUCH Alexandra: overestimated peak area
Note on B15: KNOBLAUCH Alexandra: Peak area overestimated
Note on B17: KNOBLAUCH Alexandra: Peak area overestimated
Note on B18: KNOBLAUCH Alexandra: overestimated peak area
Note on B19: KNOBLAUCH Alexandra: Peak area overestimated
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks
Note on U38: KNOBLAUCH Alexandra: Peak area overestimated

## IC_101123_Br
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Br_ calib_ppm | c_Br_sample_ppm | c_Br_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Cal 2 | x 5 |  |  |  | 10.11.2023 | 1 | 5 | 4.75 | 1.4892 | 20 | 19.9529 | 99.7645 | 1 mL in 5
Cal 3 | x 10 |  |  |  | 10.11.2023 | 1 | 10 | 4.753 | 0.7557 | 10 | 10.0808 | 100.8075 | 0.5 mL in 5
Cal 4 | x 20 |  |  |  | 10.11.2023 | 1 | 20 | 4.753 | 0.3788 | 5 | 5.0081 | 100.1615 | 0.5 mL in 10
Cal 5 | x 50 |  |  |  | 10.11.2023 | 1 | 50 | 4.757 | 0.1749 | 2 | 2.2638 | 113.1898 | 0.2 mL in 10
Cal 6 | x 100 |  |  |  | 10.11.2023 | 1 | 100 | 4.76 | 0.0661 | 1 | 0.79946 | 79.9462 | 0.1 mL in 10
1 | Blank |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
2 | Cal Check |  |  |  | 10.11.2023 | 1 | 20 | 4.757 | 0.4276 |  | 5.6649 | 113.2974 | x20 dil
3 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 50 Top Triplicate a | #VALUE!
4 | 0-50-T-b | 0 | 50 | Tb | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 50 Top Triplicate b
5 | 0-50-T-c | 0 | 50 | Tc | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 50 Top Triplicate c
6 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 70 Bottom
7 | 20-60-B-a | 20 | 60 | Ba | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Bottom Triplicate a | #VALUE!
8 | 20-60-B-b | 20 | 60 | Bb | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Bottom Triplicate b
9 | 20-60-B-c | 20 | 60 | Bc | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Bottom Triplicate c
10 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 80 Bottom
11 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 70 Bottom
12 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 90 Top
13 | PB |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | Procedural Blank
14 | Cal Check |  |  |  | 10.11.2023 | 1 | 20 | 4.757 | 0.4276 | 1 | 5.6649 | 113.2974 | x20 dil
15 | Blank |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Slope | 0.0743
y-axis | -0.0067

## IC_101123_Nitrate
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrate_ calib_ppm | c_Nitrate_calc_ppm | c_Nitrate_measure_ppm | dilution_factor | c_Nitrate_calc_undil_ppm | c_Nitrate_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Nitrate_ calib_ppm | [5 empty] | Linear Model of Nitrate Calibration
Cal 1 | NA |  |  |  | 10.11.2023 | 1 | NA | NA | 0 | NA | NA | 0 |  |  | Instrument Issues |  | Cal 2 | Blank | 10.11.2023 | 1 | 0 | 0 | 0 | 0 | [5 empty] | m | c
Cal 2 | Blank |  |  |  | 10.11.2023 | 1 | 0 | 0 | 0 | -0.1654 | NA | 0 |  |  | DI Water |  | Cal 3 | x 5 | 10.11.2023 | 1 | 5 | 5.183 | 2.0447 | 20 |  |  |  |  | m | 0.10249 | 0.016953 | intercept
Cal 3 | x 5 |  |  |  | 10.11.2023 | 1 | 5.183 | 2.0447 | 20 | 19.7845 | 19.815 | 5 |  |  | 1 mL in 5 |  | Cal 4 | x 10 | 10.11.2023 | 1 | 10 | 5.187 | 1.0594 | 10 |  |  |  |  | Std error of X | 0.002922 | 0.027463 | Std error of intercept
Cal 4 | x 10 |  |  |  | 10.11.2023 | 1 | 5.187 | 1.0594 | 10 | 10.171 | 10.1513 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 20 | 10.11.2023 | 1 | 20 | 5.19 | 0.5811 | 5 |  |  |  |  | R^2 | 0.99676 | 0.049703 | Std error of Y estimate
Cal 5 | x 20 |  |  |  | 10.11.2023 | 1 | 5.19 | 0.5811 | 5 | 5.5043 | 5.4605 | 20 |  |  | 0.5 mL in 10 |  | Cal 6 | x 50 | 10.11.2023 | 1 | 50 | 5.193 | 0.2601 | 2 |  |  |  |  | F-statistic | 1230.2808 | 4 | Degrees of freedom
Cal 6 | x 50 |  |  |  | 10.11.2023 | 1 | 5.193 | 0.2601 | 2 | 2.3724 | 2.3119 | 50 |  |  | 0.2 mL in 10 |  | 1 | x 100 | 10.11.2023 | 1 | 100 | 5.197 | 0.0511 | 1 |  |  |  |  | Regression Sum of Squares | 3.0393 | 0.0098817 | Residual sum of Squares
1 | x 100 |  |  |  | 10.11.2023 | 1 | 5.197 | 0.0511 | 1 | 0.33317 | 0.2614 | 100 |  |  | 0.1 mL in 10
2 | Blank |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water
3 | Cal Check |  |  |  | 10.11.2023 | 1 | 5.193 | 0.7773 |  | 7.4186 | 7.3844 | 20 |  |  | x20 dil
4 | 0-50-T | 0 | 50 | T | 10.11.2023 | 1 | 5.192 | 0.016367 |  | -0.0057162 | -0.079133 | 10 | -0.057162 | -0.79133 | 0 50 Top Replicate | LOD & LOQ |  | LOD | LOQ
7 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | NA | NA |  | NA | NA | 10 | NA | NA | 0 70 Bottom |  | Peak Area | #DIV/0! | #DIV/0!
8 | 20-60-B | 20 | 60 | B | 10.11.2023 | 1 | 5.191 | 0.0191 |  | 0.020953 | -0.051933 | 10 | 0.20953 | -0.51933 | 20 60 Bottom Replicate |  | Calc Conc ppm | #DIV/0! | #DIV/0!
11 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | 5.19 | 0.0167 |  | -0.002464 | -0.0757 | 10 | -0.02464 | -0.757 | 20 80 Bottom |  | Measure conc ppm | #DIV/0! | #DIV/0!
12 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | 5.19 | 0.0127 |  | -0.041491 | -0.1146 | 10 | -0.41491 | -1.146 | 20 70 Bottom
13 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | 5.193 | 0.0141 |  | -0.027832 | -0.1013 | 10 | -0.27832 | -1.013 | 20 90 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
14 | PB |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | Procedural Blank |  | Retention time | 5.1907 | 5.1905 | 0.0034674 | 0.066799 | 1.2023e-05 | 5.197 | 5.183 | 0.014 | 12 | 0.0010009
15 | Cal Check |  |  |  | 10.11.2023 | 1 | 5.19 | 0.7647 |  | 7.2957 | 7.2609 | 20 |  |  | x20 dil |  | Peak Area Cal Checks | 0.771 | 0.771 | 0.0089095 | 1.1556 | 7.938e-05 | 0.7773 | 0.7647 | 0.0126 | 2 | 0.0063
16 | Blank |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water |  | Calc Conc Cal Checks | 7.3572 | 7.3572 | 0.086929 | 1.1816 | 0.0075567 | 7.4186 | 7.2957 | 0.12294 | 2 | 0.061468
[17 empty] | Measure Conc Cal Checks | 7.3227 | 7.3227 | 0.087328 | 1.1926 | 0.0076261 | 7.3844 | 7.2609 | 0.1235 | 2 | 0.06175
[17 empty] | Peak Area Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | Calc Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | Measure Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 5.5043 | 5.4605 | 102 | 1 | 5.1 | 107.0686 | 107.9279
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 7.3572 | 7.3227 | 100 | 1 | 5 | 146.453 | 147.1431
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.5811 | 0.771 | 5.5043 | 5.4605 | 7.3572 | 7.3227 | 75.3696 | 74.8159 | 74.57
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrate_calc_ppm | c_Nitrate_measure_ppm
[17 empty] | 4 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | 5.193 | 0.0174 | 0.0043659 | -0.0689
[17 empty] | 5 | 0-50-T-b | 0 | 50 | Tb | 17.11.2023 | 1 | 5.193 | 0.0159 | -0.010269 | -0.0838
[17 empty] | 6 | 0-50-T-c | 0 | 50 | Tc | 17.11.2023 | 1 | 5.19 | 0.0158 | -0.011245 | -0.0847
[17 empty] | 8 | 20-60-B-a | 20 | 60 | Ba | 17.11.2023 | 1 | 5.19 | 0.0192 | 0.021928 | -0.0509
[17 empty] | 9 | 20-60-B-b | 20 | 60 | Bb | 17.11.2023 | 1 | 5.19 | 0.0191 | 0.020953 | -0.052
[17 empty] | 10 | 20-60-B-c | 20 | 60 | Bc | 17.11.2023 | 1 | 5.193 | 0.019 | 0.019977 | -0.0529
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 0-50-T-a | 0 | 50 | Ta | 0.016367 | 0.0159 | 0.00089629 | 5.4763 | 8.0333e-07 | 0.0174 | 0.0158 | 0.0016 | 3 | 0.00051747
[17 empty] | c_Nitrate_calc_ppm | 0-50-T-b | 0 | 50 | Tb | -0.0057162 | -0.010269 | 0.008745 | -152.9848 | 7.6475e-05 | 0.0043659 | -0.011245 | 0.015611 | 3 | 0.0050489
[17 empty] | c_Nitrate_measure_ppm | 0-50-T-c | 0 | 50 | Tc | -0.079133 | -0.0838 | 0.0088737 | -11.2137 | 7.8743e-05 | -0.0689 | -0.0847 | 0.0158 | 3 | 0.0051233
[17 empty] | peak_area_usmin | 20-60-B-a | 20 | 60 | Ba | 0.0191 | 0.0191 | 0.0001 | 0.52356 | 1e-08 | 0.0192 | 0.019 | 0.0002 | 3 | 5.7735e-05
[17 empty] | c_Nitrate_calc_ppm | 20-60-B-b | 20 | 60 | Bb | 0.020953 | 0.020953 | 0.00097569 | 4.6567 | 9.5197e-07 | 0.021928 | 0.019977 | 0.0019514 | 3 | 0.00056331
[17 empty] | c_Nitrate_measure_ppm | 20-60-B-c | 20 | 60 | Bc | -0.051933 | -0.052 | 0.0010017 | -1.9288 | 1.0033e-06 | -0.0509 | -0.0529 | 0.002 | 3 | 0.00057831
Note on B5: KNOBLAUCH Alexandra: Peak area overestimated
Note on B6: KNOBLAUCH Alexandra: Peak area overestimated
Note on B7: KNOBLAUCH Alexandra: Peak area overestimated
Note on B10: KNOBLAUCH Alexandra: Peak area overestimated
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B12: KNOBLAUCH Alexandra: Beyond Calibration range, use diluted peak from 231123
Note on B13: KNOBLAUCH Alexandra: overestimated peak area
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks
Note on U38: KNOBLAUCH Alexandra: Peak area overestimated

## IC_101123_PO4
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_PO4_ calib_ppm | c_PO4_sample_ppm | c_PO4_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Cal 2 | x 5 |  |  |  | 10.11.2023 | 1 | 5 | 6.433 | 1.7072 | 40 | 39.7804 | 198.9019 | 1 mL in 5
Cal 3 | x 10 |  |  |  | 10.11.2023 | 1 | 10 | 6.437 | 0.8775 | 20 | 20.3949 | 203.9486 | 0.5 mL in 5
Cal 4 | x 20 |  |  |  | 10.11.2023 | 1 | 20 | 6.44 | 0.4272 | 10 | 9.8738 | 197.4766 | 0.5 mL in 10
Cal 5 | x 50 |  |  |  | 10.11.2023 | 1 | 50 | 6.44 | 0.1799 | 4 | 4.0958 | 204.7897 | 0.2 mL in 10
Cal 6 | x 100 |  |  |  | 10.11.2023 | 1 | 100 | 6.447 | 0.0854 | 2 | 1.8879 | 188.785 | 0.1 mL in 10
1 | Blank |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
2 | Cal Check |  |  |  | 10.11.2023 | 1 | 20 | 6.44 | 0.4885 |  | 11.3061 | 226.1215 | x20 dil
3 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 50 Top Triplicate a | #VALUE!
4 | 0-50-T-b | 0 | 50 | Tb | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 50 Top Triplicate b
5 | 0-50-T-c | 0 | 50 | Tc | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 50 Top Triplicate c
6 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 70 Bottom
7 | 20-60-B-a | 20 | 60 | Ba | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Bottom Triplicate a | #VALUE!
8 | 20-60-B-b | 20 | 60 | Bb | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Bottom Triplicate b
9 | 20-60-B-c | 20 | 60 | Bc | 10.11.2023 | 1 | 10 | 6.47 | 0.0136 |  | 0.21028 | 2.1028 | 20 60 Bottom Triplicate c
10 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 80 Bottom
11 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 70 Bottom
12 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | 10 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 90 Top
13 | PB |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | Procedural Blank
14 | Cal Check |  |  |  | 10.11.2023 | 1 | 20 | 6.437 | 0.4631 | 1 | 10.7126 | 214.2523 | x20 dil
15 | Blank |  |  |  | 10.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Slope | 0.0428
y-axis | -0.0046

## IC_101123_SO4
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Sulfate_ calib_ppm | c_Sulfate_calc_ppm | c_Sulfate_measure_ppm | dilution_factor | c_Sulfate_calc_undil_ppm | c_Sulfate_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Sulfate_ calib_ppm | [5 empty] | Linear Model of Sulfate Calibration
Cal 1 | NA |  |  |  | 10.11.2023 | 1 | NA | NA | 0 | NA | NA | 0 |  |  | Instrument Issues |  | Cal 2 | Blank | 10.11.2023 | 1 | 0 | 7.16 | 0.0271 | 0 | [5 empty] | m | c
Cal 2 | Blank |  |  |  | 10.11.2023 | 1 | 7.16 | 0.0271 | 0 | 0.05799 | 0.0581 | 0 |  |  | DI Water |  | Cal 3 | x 5 | 10.11.2023 | 1 | 5 | 7.223 | 2.5909 | 20 |  |  |  |  | m | 0.12913 | 0.019612 | intercept
Cal 3 | x 5 |  |  |  | 10.11.2023 | 1 | 7.223 | 2.5909 | 20 | 19.9129 | 19.9128 | 5 |  |  | 1 mL in 5 |  | Cal 4 | x 10 | 10.11.2023 | 1 | 10 | 7.213 | 1.3313 | 10 |  |  |  |  | Std error of X | 0.0010628 | 0.0099887 | Std error of intercept
Cal 4 | x 10 |  |  |  | 10.11.2023 | 1 | 7.213 | 1.3313 | 10 | 10.1581 | 10.1584 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 20 | 10.11.2023 | 1 | 20 | 7.207 | 0.6751 | 5 |  |  |  |  | R^2 | 0.99973 | 0.018078 | Std error of Y estimate
Cal 5 | x 20 |  |  |  | 10.11.2023 | 1 | 7.207 | 0.6751 | 5 | 5.0763 | 5.0762 | 20 |  |  | 0.5 mL in 10 |  | Cal 6 | x 50 | 10.11.2023 | 1 | 50 | 7.2 | 0.276 | 2 |  |  |  |  | F-statistic | 14762.0149 | 4 | Degrees of freedom
Cal 6 | x 50 |  |  |  | 10.11.2023 | 1 | 7.2 | 0.276 | 2 | 1.9855 | 1.9855 | 50 |  |  | 0.2 mL in 10 |  | 1 | x 100 | 10.11.2023 | 1 | 100 | 7.203 | 0.1241 | 1 |  |  |  |  | Regression Sum of Squares | 4.8243 | 0.0013072 | Residual sum of Squares
1 | x 100 |  |  |  | 10.11.2023 | 1 | 7.203 | 0.1241 | 1 | 0.80919 | 0.8091 | 100 |  |  | 0.1 mL in 10
2 | Blank |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water
3 | Cal Check |  |  |  | 10.11.2023 | 1 | 7.21 | 0.7638 |  | 5.7632 | 5.7632 | 20 |  |  | x20 dil
4 | 0-50-T | 0 | 50 | T | 10.11.2023 | 1 | 7.1957 | 0.080267 |  | 0.46973 | 0.4697 | 10 | 4.6973 | 4.697 | 0 50 Top Replicate | LOD & LOQ |  | LOD | LOQ
7 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | 7.183 | 0.0636 |  | 0.34066 | 0.3408 | 10 | 3.4066 | 3.408 | 0 70 Bottom |  | Peak Area | #DIV/0! | #DIV/0!
8 | 20-60-B | 20 | 60 | B | 10.11.2023 | 1 | 7.187 | 0.017667 |  | -0.015064 | -0.015267 | 10 | -0.15064 | -0.15267 | 20 60 Bottom Replicate |  | Calc Conc ppm | #DIV/0! | #DIV/0!
11 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | 7.19 | 0.0478 |  | 0.2183 | 0.2182 | 10 | 2.183 | 2.182 | 20 80 Bottom |  | Measure conc ppm | #DIV/0! | #DIV/0!
12 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | 7.187 | 0.0313 |  | 0.090517 | 0.0901 | 10 | 0.90517 | 0.901 | 20 70 Bottom
13 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | 7.19 | 0.0401 |  | 0.15867 | 0.1583 | 10 | 1.5867 | 1.583 | 20 90 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
14 | PB |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | Procedural Blank |  | Retention time | 7.1968 | 7.1978 | 0.015715 | 0.21836 | 0.00024695 | 7.223 | 7.16 | 0.063 | 14 | 0.0041999
15 | Cal Check |  |  |  | 10.11.2023 | 1 | 7.207 | 0.7097 |  | 5.3443 | 5.3441 | 20 |  |  | x20 dil |  | Peak Area Cal Checks | 0.73675 | 0.73675 | 0.038254 | 5.1923 | 0.0014634 | 0.7638 | 0.7097 | 0.0541 | 2 | 0.02705
16 | Blank |  |  |  | 10.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water |  | Calc Conc Cal Checks | 5.5537 | 5.5537 | 0.29625 | 5.3343 | 0.087767 | 5.7632 | 5.3443 | 0.41897 | 2 | 0.20948
[17 empty] | Measure Conc Cal Checks | 5.5537 | 5.5537 | 0.29635 | 5.3361 | 0.087822 | 5.7632 | 5.3441 | 0.4191 | 2 | 0.20955
[17 empty] | Peak Area Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | Calc Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | Measure Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 5.0763 | 5.0762 | 101 | 1 | 5.05 | 100.5188 | 100.5208
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 5.5537 | 5.5537 | 100 | 1 | 5 | 111.073 | 111.0748
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.6751 | 0.73675 | 5.0763 | 5.0762 | 5.5537 | 5.5537 | 91.6322 | 91.4033 | 91.403
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Sulfate_calc_ppm | c_Sulfate_measure_ppm
[17 empty] | 4 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | 7.197 | 0.0815 | 0.47928 | 0.4793
[17 empty] | 5 | 0-50-T-b | 0 | 50 | Tb | 17.11.2023 | 1 | 7.2 | 0.0793 | 0.46224 | 0.4619
[17 empty] | 6 | 0-50-T-c | 0 | 50 | Tc | 17.11.2023 | 1 | 7.19 | 0.08 | 0.46766 | 0.4679
[17 empty] | 8 | 20-60-B-a | 20 | 60 | Ba | 17.11.2023 | 1 | 7.187 | 0.017 | -0.020227 | -0.0205
[17 empty] | 9 | 20-60-B-b | 20 | 60 | Bb | 17.11.2023 | 1 | 7.187 | 0.017 | -0.020227 | -0.0204
[17 empty] | 10 | 20-60-B-c | 20 | 60 | Bc | 17.11.2023 | 1 | 7.187 | 0.019 | -0.0047385 | -0.0049
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 0-50-T-a | 0 | 50 | Ta | 0.080267 | 0.08 | 0.001124 | 1.4003 | 1.2633e-06 | 0.0815 | 0.0793 | 0.0022 | 3 | 0.00064893
[17 empty] | c_Sulfate_calc_ppm | 0-50-T-b | 0 | 50 | Tb | 0.46973 | 0.46766 | 0.0087045 | 1.8531 | 7.5768e-05 | 0.47928 | 0.46224 | 0.017037 | 3 | 0.0050255
[17 empty] | c_Sulfate_measure_ppm | 0-50-T-c | 0 | 50 | Tc | 0.4697 | 0.4679 | 0.0088386 | 1.8817 | 7.812e-05 | 0.4793 | 0.4619 | 0.0174 | 3 | 0.0051029
[17 empty] | peak_area_usmin | 20-60-B-a | 20 | 60 | Ba | 0.017667 | 0.017 | 0.0011547 | 6.536 | 1.3333e-06 | 0.019 | 0.017 | 0.002 | 3 | 0.00066667
[17 empty] | c_Sulfate_calc_ppm | 20-60-B-b | 20 | 60 | Bb | -0.015064 | -0.020227 | 0.0089424 | -59.3615 | 7.9966e-05 | -0.0047385 | -0.020227 | 0.015489 | 3 | 0.0051629
[17 empty] | c_Sulfate_measure_ppm | 20-60-B-c | 20 | 60 | Bc | -0.015267 | -0.0204 | 0.0089779 | -58.8074 | 8.0603e-05 | -0.0049 | -0.0205 | 0.0156 | 3 | 0.0051834
Note on B3: KNOBLAUCH Alexandra: overestimated peak area
Note on B7: KNOBLAUCH Alexandra: Peak area overestimated
Note on B8: KNOBLAUCH Alexandra: overestimated peak area
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks