## calibration
| x100 | x50 | x20 | x10 | x5 | x0
Fluoride | 0.2 | 0.4 | 1 | 2 | 4 | 20
Chloride | 1 | 2 | 5 | 10 | 20 | 100
Nitrite | 1 | 2 | 5 | 10 | 20 | 100
Bromide | 1 | 2 | 5 | 10 | 20 | 100
Nitrate | 1 | 2 | 5 | 10 | 20 | 100
Phosphate | 2 | 4 | 10 | 20 | 40 | 200
Sulfate | 1 | 2 | 5 | 10 | 20 | 100

## IC_171123_F
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_F_ calib_ppm | c_F_sample_ppm | c_F_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | 2.94 | 0.0184 | 0 | 0.023006 | 0 | DI Water
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 100 | 2.92 | 0.0524 | 0.2 | 0.15337 | 15.3374 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 50 | 2.913 | 0.1227 | 0.4 | 0.42293 | 21.1465 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 20 | n.a. | n.a. | 1 | #VALUE! | #VALUE! | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 10 | n.a. | n.a. | 2 | #VALUE! | #VALUE! | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 5 | n.a. | n.a. | 4 | #VALUE! | #VALUE! | 1 mL in 5
1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | 2.947 | 0.0211 |  | 0.033359 | 0 | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 2.917 | 0.2354 |  | 0.85506 | 17.1012 | x20 dil
3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | 5 | 3 | 0.0388 |  | 0.10123 | 0.50613 | 20 20 Top Triplicate a | 0.53489
4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | 5 | 3.02 | 0.0408 |  | 0.1089 | 0.54448 | 20 20 Top Triplicate b
5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | 5 | 2.94 | 0.0413 |  | 0.11081 | 0.55406 | 20 20 Top Triplicate c
6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate a | #VALUE!
7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate b
8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate c
9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 5 | 2.937 | 0.022 |  | 0.03681 | 0.18405 | 10 90 T Triplicate a | 0.22719
10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 5 | 2.933 | 0.0242 |  | 0.045245 | 0.22623 | 10 90 T Triplicate b
11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 5 | 2.927 | 0.0265 |  | 0.054064 | 0.27032 | 10 90 T Triplicate c
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 5 | 3.037 | 0.0425 |  | 0.11541 | 0.57707 | 0 10 Top
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | 5 | 3.01 | 0.0331 |  | 0.079371 | 0.39686 | 0 20 Top
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | 0 | 2.933 | 0.0234 |  | 0.042178 | 0 | DI Water
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 2.917 | 0.2606 |  | 0.95169 | 19.0337 | x20 dil
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | 5 | 2.957 | 0.045 |  | 0.125 | 0.625 | 0 60 Top
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 70 Top
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | 5 | 3.047 | 0.045 |  | 0.125 | 0.625 | 0 80 Top
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | 5 | 2.963 | 0.0351 |  | 0.08704 | 0.4352 | 0 90 Top
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | 5 | 2.973 | 0.0438 |  | 0.1204 | 0.60199 | 0 100 Top
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 60 Bottom
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | 5 | 2.937 | 0.0371 |  | 0.094709 | 0.47354 | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | 5 | 3.047 | 0.0448 |  | 0.12423 | 0.62117 | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | 5 | 2.987 | 0.045 |  | 0.125 | 0.625 | 10 60 Top
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | 5 | 2.973 | 0.0463 |  | 0.12998 | 0.64992 | 10 70 Top
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | 5 | 3.05 | 0.0384 |  | 0.099693 | 0.49847 | 10 10 Bottom
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 50 Bottom
30 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 2.92 | 0.2852 |  | 1.046 | 20.9202 | x20 dil
29 | Blank |  |  |  | 17.11.2023 | 1 | 0 | 2.93 | 0.0257 |  | 0.050997 | 0 | DI Water
Slope | 0.2608
y-Axis | -0.0124

## IC_171123_Cl
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | c_Cl_calc_ppm | c_Cl_measure_ppm | dilution_factor | c_Cl_calc_undil_ppm | c_Cl_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | [5 empty] | Linear Model of Cl Calibration
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 3.667 | 0.2872 | 0 | 1.1925 | 1.173 | 0 |  |  | DI Water |  | Cal 1 | Blank | 17.11.2023 | 1 | 0 | 3.667 | 0.2872 | 0 | [5 empty] | m | c
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 3.67 | 0.2394 | 1 | 0.94518 | 0.9254 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 17.11.2023 | 1 | 100 | 3.67 | 0.2394 | 1 |  |  |  |  | m | 0.19329 | 0.056707 | intercept
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 3.673 | 0.3924 | 2 | 1.7367 | 1.7179 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 17.11.2023 | 1 | 50 | 3.673 | 0.3924 | 2 |  |  |  |  | Std error of X | 0.0098952 | 0.093001 | Std error of intercept
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 3.67 | 0.9031 | 5 | 4.3789 | 4.3638 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 17.11.2023 | 1 | 20 | 3.67 | 0.9031 | 5 |  |  |  |  | R^2 | 0.98963 | 0.16832 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 3.677 | 1.8204 | 10 | 9.1247 | 9.116 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 17.11.2023 | 1 | 10 | 3.677 | 1.8204 | 10 |  |  |  |  | F-statistic | 381.5609 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 3.68 | 4.0427 | 20 | 20.622 | 20.6293 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 17.11.2023 | 1 | 5 | 3.68 | 4.0427 | 20 |  |  |  |  | Regression Sum of Squares | 10.8096 | 0.11332 | Residual sum of Squares
1 | Blank |  |  |  | 17.11.2023 | 1 | 3.677 | 0.1019 |  | 0.23381 | 0.2128 | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 3.673 | 0.991 |  | 4.8337 | 4.8191 | 20 |  |  | x20 dil
3 | 20-20-T | 20 | 20 | T | 17.11.2023 | 1 | 3.669 | 0.3174 |  | 1.3487 | 1.3295 | 5 | 6.7436 | 6.6473 | 20 20 Top Mean Replicate
6 | 0-10-B | 0 | 10 | B | 17.11.2023 | 1 | 3.67 | 0.41573 |  | 1.8575 | 1.8388 | 5 | 9.2873 | 9.1938 | 0 10 B Mean Replicate | LOD & LOQ |  | LOD | LOQ
9 | 10-90-T | 10 | 90 | T | 17.11.2023 | 1 | 3.721 | 31.7285 |  | 163.8577 | 164.0626 | 5 | 819.2887 | 820.313 | 10 90 T Mean Replicate |  | Peak Area | 0.31749 | 0.69678
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 3.67 | 0.5493 |  | 2.5485 | 2.531 | 5 | 12.7424 | 12.655 | 0 10 Top |  | Calc Conc ppm | 1.3492 | 3.3115
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | 3.67 | 0.3871 |  | 1.7093 | 1.6905 | 5 | 8.5466 | 8.4525 | 0 20 Top |  | Measure conc ppm | 1.3301 | 3.2959
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | 3.667 | 0.3373 |  | 1.4517 | 1.4324 | 5 | 7.2584 | 7.162 | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | 3.667 | 0.1527 |  | 0.49663 | 0.4759 | 0 |  |  | DI Water | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 3.67 | 1.104 |  | 5.4183 | 5.4046 | 20 |  |  | x20 dil |  | Retention time | 3.6715 | 3.67 | 0.0099333 | 0.27056 | 9.8671e-05 | 3.721 | 3.667 | 0.054 | 30 | 0.0018136
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | 3.667 | 0.3852 |  | 1.6995 | 1.6804 | 5 | 8.4975 | 8.402 | 0 60 Top |  | Peak Area Cal Checks | 1.1197 | 1.104 | 0.13717 | 12.2512 | 0.018816 | 1.264 | 0.991 | 0.273 | 3 | 0.079197
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | 3.67 | 0.281 |  | 1.1604 | 1.1407 | 5 | 5.802 | 5.7035 | 0 70 Top |  | Calc Conc Cal Checks | 5.4993 | 5.4183 | 0.70968 | 12.9048 | 0.50364 | 6.2461 | 4.8337 | 1.4124 | 3 | 0.40973
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | 3.67 | 0.4106 |  | 1.8309 | 1.8122 | 5 | 9.1545 | 9.061 | 0 80 Top |  | Measure Conc Cal Checks | 5.4858 | 5.4046 | 0.71084 | 12.9577 | 0.50529 | 6.2338 | 4.8191 | 1.4147 | 3 | 0.4104
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | 3.667 | 0.5006 |  | 2.2965 | 2.2786 | 5 | 11.4827 | 11.393 | 0 90 Top |  | Peak Area Blanks | 0.15493 | 0.1527 | 0.054185 | 34.9728 | 0.002936 | 0.2102 | 0.1019 | 0.1083 | 3 | 0.031283
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | 3.67 | 0.3446 |  | 1.4894 | 1.4706 | 5 | 7.4472 | 7.353 | 0 100 Top |  | Calc Conc Blanks | 0.50819 | 0.49663 | 0.28033 | 55.163 | 0.078585 | 0.79411 | 0.23381 | 0.5603 | 3 | 0.16185
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | 3.667 | 0.2478 |  | 0.98864 | 0.9687 | 5 | 4.9432 | 4.8435 | 0 60 Bottom |  | Measure Conc Blanks | 0.4876 | 0.4759 | 0.28083 | 57.5949 | 0.078867 | 0.7741 | 0.2128 | 0.5613 | 3 | 0.16214
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | 3.667 | 0.3747 |  | 1.6452 | 1.6265 | 5 | 8.2259 | 8.1325 | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | 3.667 | 0.4274 |  | 1.9178 | 1.8993 | 5 | 9.5891 | 9.4965 | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | 3.667 | 0.4319 |  | 1.9411 | 1.9226 | 5 | 9.7055 | 9.613 | 10 60 Top |  |  | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | 3.667 | 0.4018 |  | 1.7854 | 1.7668 | 5 | 8.9269 | 8.834 | 10 70 Top |  | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.3789 | 4.3638 | 100 | 1 | 5 | 87.276 | 87.5783
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | 3.67 | 0.3706 |  | 1.624 | 1.605 | 5 | 8.1198 | 8.025 | 10 10 Bottom |  | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 5.4993 | 5.4858 | 100 | 1 | 5 | 109.7167 | 109.9869
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | 3.667 | 0.3403 |  | 1.4672 | 1.4483 | 5 | 7.336 | 7.2415 | 10 50 Bottom
29 | Cal Check |  |  |  | 17.11.2023 | 1 | 3.67 | 1.264 |  | 6.2461 | 6.2338 | 20 |  |  | x20 dil
30 | Blank |  |  |  | 17.11.2023 | 1 | 3.667 | 0.2102 |  | 0.79411 | 0.7741 | 0 |  |  | DI Water |  |  | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.9031 | 1.1197 | 4.3789 | 4.3638 | 5.4993 | 5.4858 | 80.6579 | 79.6261 | 79.5467
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_calc_ppm | c_Cl_measure_ppm
[17 empty] | 3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | 3.67 | 0.2965 | 1.2406 | 1.2211
[17 empty] | 4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | 3.67 | 0.3223 | 1.3741 | 1.3549
[17 empty] | 5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | 3.667 | 0.3334 | 1.4315 | 1.4124
[17 empty] | 6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | 3.67 | 0.4122 | 1.8392 | 1.8205
[17 empty] | 7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | 3.67 | 0.4161 | 1.8594 | 1.8407
[17 empty] | 8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | 3.67 | 0.4189 | 1.8738 | 1.8551
[17 empty] | 9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 3.72 | 31.5482 | 162.9249 | 163.1286
[17 empty] | 10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 3.723 | 31.7604 | 164.0228 | 164.2279
[17 empty] | 11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 3.72 | 31.8769 | 164.6255 | 164.8313
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 20-20-T | 20 | 20 | T | 0.3174 | 0.3223 | 0.018932 | 5.9646 | 0.00035841 | 0.3334 | 0.2965 | 0.0369 | 3 | 0.01093
[17 empty] | c_Cl_calc_ppm | 20-20-T | 20 | 20 | T | 1.3487 | 1.3741 | 0.097945 | 7.2621 | 0.0095933 | 1.4315 | 1.2406 | 0.19091 | 3 | 0.056549
[17 empty] | c_Cl_measure_ppm | 20-20-T | 20 | 20 | T | 1.3295 | 1.3549 | 0.098153 | 7.3829 | 0.0096341 | 1.4124 | 1.2211 | 0.1913 | 3 | 0.056669
[17 empty] | peak_area_usmin | 0-10-B | 0 | 10 | B | 0.41573 | 0.4161 | 0.003365 | 0.80942 | 1.1323e-05 | 0.4189 | 0.4122 | 0.0067 | 3 | 0.0019428
[17 empty] | c_Cl_calc_ppm | 0-10-B | 0 | 10 | B | 1.8575 | 1.8594 | 0.017409 | 0.93726 | 0.00030308 | 1.8738 | 1.8392 | 0.034663 | 3 | 0.010051
[17 empty] | c_Cl_measure_ppm | 0-10-B | 0 | 10 | B | 1.8388 | 1.8407 | 0.017381 | 0.94524 | 0.00030209 | 1.8551 | 1.8205 | 0.0346 | 3 | 0.010035
[17 empty] | peak_area_usmin | 10-90-T | 10 | 90 | T | 31.7285 | 31.7604 | 0.16666 | 0.52526 | 0.027774 | 31.8769 | 31.5482 | 0.3287 | 3 | 0.096219
[17 empty] | c_Cl_calc_ppm | 10-90-T | 10 | 90 | T | 163.8577 | 164.0228 | 0.86221 | 0.5262 | 0.74341 | 164.6255 | 162.9249 | 1.7006 | 3 | 0.4978
[17 empty] | c_Cl_measure_ppm | 10-90-T | 10 | 90 | T | 164.0626 | 164.2279 | 0.8633 | 0.5262 | 0.74529 | 164.8313 | 163.1286 | 1.7027 | 3 | 0.49843
Note on B2: KNOBLAUCH Alexandra: overestimated peak area
Note on B3: KNOBLAUCH Alexandra: overestimated peak area
Note on B4: KNOBLAUCH Alexandra: overestimated peak area
Note on B5: KNOBLAUCH Alexandra: overestimated peak area
Note on B8: KNOBLAUCH Alexandra: overestimated peak area
Note on B10: KNOBLAUCH Alexandra: overestimated peak area
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B12: KNOBLAUCH Alexandra: Beyond Calibration range, use diluted peak from 231123
Note on B13: KNOBLAUCH Alexandra: overestimated peak area
Note on B16: KNOBLAUCH Alexandra: overestimated peak area
Note on B18: KNOBLAUCH Alexandra: overestimated peak area
Note on B20: KNOBLAUCH Alexandra: overestimated peak area
Note on B22: KNOBLAUCH Alexandra: overestimated peak area
Note on B24: KNOBLAUCH Alexandra: overestimated peak area
Note on B25: KNOBLAUCH Alexandra: overestimated peak area
Note on B26: KNOBLAUCH Alexandra: overestimated peak area
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on B27: KNOBLAUCH Alexandra: overestimated peak area
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on B31: KNOBLAUCH Alexandra: overestimated peak area
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks

## IC_171123_Nitrite
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrite_ calib_ppm | c_Nitrite_calc_ppm | c_Nitrite_measure_ppm | dilution_factor | c_Nitrite_calc_undil_ppm | c_Nitrite_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Nitrite_ calib_ppm | [5 empty] | Linear Model of Nitrite Calibration
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | 0 | 0 | 0.34666 | 0 | 0 |  |  | DI Water |  | Cal 1 | Blank | 17.11.2023 | 1 | 0 | 0 | 0 | 0 | [5 empty] | m | c
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 4.183 | 0.1263 | 1 | 1.4715 | 1.6061 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 17.11.2023 | 1 | 100 | 4.183 | 0.1263 | 1 |  |  |  |  | m | 0.11229 | -0.038925 | intercept
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 4.187 | 0.1627 | 2 | 1.7956 | 1.9271 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 17.11.2023 | 1 | 50 | 4.187 | 0.1627 | 2 |  |  |  |  | Std error of X | 0.0032321 | 0.030377 | Std error of intercept
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 4.187 | 0.4461 | 5 | 4.3196 | 4.4235 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 17.11.2023 | 1 | 20 | 4.187 | 0.4461 | 5 |  |  |  |  | R^2 | 0.9967 | 0.054978 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 4.19 | 1.0614 | 10 | 9.7993 | 9.8443 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 17.11.2023 | 1 | 10 | 4.19 | 1.0614 | 10 |  |  |  |  | F-statistic | 1206.9142 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 4.193 | 2.2368 | 20 | 20.2673 | 20.1989 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 17.11.2023 | 1 | 5 | 4.193 | 2.2368 | 20 |  |  |  |  | Regression Sum of Squares | 3.6479 | 0.01209 | Residual sum of Squares
1 | Blank |  |  |  | 17.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 4.19 | 0.4956 |  | 4.7604 | 4.8594 | 20 |  |  | x20 dil
3 | 20-20-T | 20 | 20 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 20 Top Mean Replicate
6 | 0-10-B | 0 | 10 | B | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 10 B Mean Replicate | LOD & LOQ |  | LOD | LOQ
9 | 10-90-T | 10 | 90 | T | 17.11.2023 | 1 | 4.108 | 0.43113 |  | 4.1863 | 4.2914 | 5 | 20.9314 | 21.4572 | 10 90 T Mean Replicate |  | Peak Area | #DIV/0! | #DIV/0!
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 4.083 | 0.0585 |  | 0.86766 | 1.0088 | 5 | 4.3383 | 5.044 | 0 10 Top |  | Calc Conc ppm | #DIV/0! | #DIV/0!
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 20 Top |  | Measure conc ppm | #DIV/0! | #DIV/0!
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | 4.18 | 0.0216 |  | 0.53903 | 0.6838 | 0 |  |  | DI Water | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 4.183 | 0.5192 |  | 4.9706 | 5.0675 | 20 |  |  | x20 dil |  | Retention time | 4.1701 | 4.187 | 0.037479 | 0.89876 | 0.0014047 | 4.193 | 4.083 | 0.11 | 11 | 0.0113
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 60 Top |  | Peak Area Cal Checks | 0.5155 | 0.5192 | 0.018332 | 3.5562 | 0.00033607 | 0.5317 | 0.4956 | 0.0361 | 3 | 0.010584
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 70 Top |  | Calc Conc Cal Checks | 4.9376 | 4.9706 | 0.16326 | 3.3065 | 0.026655 | 5.0819 | 4.7604 | 0.3215 | 3 | 0.094261
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 80 Top |  | Measure Conc Cal Checks | 5.0347 | 5.0675 | 0.16137 | 3.2053 | 0.026042 | 5.1771 | 4.8594 | 0.3177 | 3 | 0.09317
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 90 Top |  | Peak Area Blanks | 0.0216 | 0.0216 | #DIV/0! | #DIV/0! | #DIV/0! | 0.0216 | 0.0216 | 0 | 1 | #DIV/0!
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 100 Top |  | Calc Conc Blanks | 0.53903 | 0.53903 | #DIV/0! | #DIV/0! | #DIV/0! | 0.53903 | 0.53903 | 0 | 1 | #DIV/0!
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 60 Bottom |  | Measure Conc Blanks | 0.6838 | 0.6838 | #DIV/0! | #DIV/0! | #DIV/0! | 0.6838 | 0.6838 | 0 | 1 | #DIV/0!
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 10 60 Top |  |  | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 10 70 Top |  | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.3196 | 4.4235 | 102 | 1 | 5.1 | 86.7353 | 84.6974
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 10 10 Bottom |  | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 4.9376 | 5.0347 | 100 | 1 | 5 | 100.6933 | 98.7527
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 10 50 Bottom
29 | Cal Check |  |  |  | 17.11.2023 | 1 | 4.187 | 0.5317 |  | 5.0819 | 5.1771 | 20 |  |  | x20 dil
30 | Blank |  |  |  | 17.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water |  |  | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.4461 | 0.5155 | 4.3196 | 4.4235 | 4.9376 | 5.0347 | 86.5373 | 87.4825 | 87.8608
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrite_calc_ppm | c_Nitrite_measure_ppm
[17 empty] | 3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 4.107 | 0.4094 | 3.9927 | 4.0999
[17 empty] | 10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 4.11 | 0.4434 | 4.2955 | 4.3992
[17 empty] | 11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 4.107 | 0.4406 | 4.2706 | 4.3752
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 20-20-T | 20 | 20 | T | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_calc_ppm | 20-20-T | 20 | 20 | T | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_measure_ppm | 20-20-T | 20 | 20 | T | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | peak_area_usmin | 0-10-B | 0 | 10 | B | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_calc_ppm | 0-10-B | 0 | 10 | B | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrite_measure_ppm | 0-10-B | 0 | 10 | B | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | peak_area_usmin | 10-90-T | 10 | 90 | T | 0.43113 | 0.4406 | 0.018874 | 4.3777 | 0.00035621 | 0.4434 | 0.4094 | 0.034 | 3 | 0.010897
[17 empty] | c_Nitrite_calc_ppm | 10-90-T | 10 | 90 | T | 4.1863 | 4.2706 | 0.16809 | 4.0152 | 0.028253 | 4.2955 | 3.9927 | 0.3028 | 3 | 0.097044
[17 empty] | c_Nitrite_measure_ppm | 10-90-T | 10 | 90 | T | 4.2914 | 4.3752 | 0.16631 | 3.8753 | 0.027658 | 4.3992 | 4.0999 | 0.2993 | 3 | 0.096017
Note on B2: KNOBLAUCH Alexandra: overestimated peak area
Note on B3: KNOBLAUCH Alexandra: overestimated peak area
Note on B4: KNOBLAUCH Alexandra: overestimated peak area
Note on B5: KNOBLAUCH Alexandra: overestimated peak area
Note on B10: KNOBLAUCH Alexandra: overestimated peak area obscures potential nitrite peak
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B12: KNOBLAUCH Alexandra: High Chloride peak may obscure Nitrite but still within calibration range, use this peak
Note on B13: KNOBLAUCH Alexandra: overestimated peak area
Note on B16: KNOBLAUCH Alexandra: overestimated peak area
Note on B18: KNOBLAUCH Alexandra: overestimated peak area
Note on B20: KNOBLAUCH Alexandra: overestimated peak area
Note on B22: KNOBLAUCH Alexandra: overestimated peak area
Note on B24: KNOBLAUCH Alexandra: overestimated peak area
Note on B25: KNOBLAUCH Alexandra: overestimated peak area
Note on B26: KNOBLAUCH Alexandra: overestimated peak area
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on B27: KNOBLAUCH Alexandra: overestimated peak area
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on B31: KNOBLAUCH Alexandra: overestimated peak area
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks

## IC_171123_Br
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Br_ calib_ppm | c_Br_sample_ppm | c_Br_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 100 | 4.757 | 0.093 | 1 | 1.23 | 122.9987 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 50 | 4.76 | 0.1617 | 2 | 2.1029 | 105.1461 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 20 | 4.757 | 0.3689 | 5 | 4.7357 | 94.7141 | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 10 | 4.757 | 0.7584 | 10 | 9.6849 | 96.8488 | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 5 | 4.76 | 1.5868 | 20 | 20.2109 | 101.0546 | 1 mL in 5
1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 4.76 | 0.4143 |  | 5.3126 | 106.2516 | x20 dil
3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 20 Top Triplicate a | #VALUE!
4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 20 Top Triplicate b
5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 20 Top Triplicate c
6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate a | #VALUE!
7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate b
8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate c
9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 90 T Triplicate a | #VALUE!
10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 90 T Triplicate b
11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 90 T Triplicate c
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 Top
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 20 Top
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 4.753 | 0.4323 |  | 5.5413 | 110.8259 | x20 dil
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 60 Top
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 70 Top
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 80 Top
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 90 Top
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 100 Top
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 60 Bottom
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 60 Top
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 70 Top
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 10 Bottom
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 50 Bottom
30 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 4.757 | 0.4388 |  | 5.6239 | 112.4778 | x20 dil
29 | Blank |  |  |  | 17.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
Slope | 0.0787
y-Axis | 0.0038

## IC_171123_Nitrate
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrate_ calib_ppm | c_Nitrate_calc_ppm | c_Nitrate_measure_ppm | dilution_factor | c_Nitrate_calc_undil_ppm | c_Nitrate_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Nitrate_ calib_ppm | [5 empty] | Linear Model of Nitrate Calibration
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | 0 | 0 | -0.39008 | 0 | 0 |  |  | DI Water |  | Cal 1 | Blank | 17.11.2023 | 1 | 0 | 0 | 0 | 0 | [5 empty] | m | c
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 5.19 | 0.2661 | 1 | 1.9865 | 2.3042 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 17.11.2023 | 1 | 100 | 5.19 | 0.2661 | 1 |  |  |  |  | m | 0.11197 | 0.043677 | intercept
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 5.197 | 0.2302 | 2 | 1.6658 | 1.991 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 17.11.2023 | 1 | 50 | 5.197 | 0.2302 | 2 |  |  |  |  | Std error of X | 0.003881 | 0.036476 | Std error of intercept
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 5.19 | 0.5608 | 5 | 4.6184 | 4.8739 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 17.11.2023 | 1 | 20 | 5.19 | 0.5608 | 5 |  |  |  |  | R^2 | 0.99522 | 0.066016 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 5.19 | 1.1723 | 10 | 10.0797 | 10.2054 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 17.11.2023 | 1 | 10 | 5.19 | 1.1723 | 10 |  |  |  |  | F-statistic | 832.3399 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 5.19 | 2.2875 | 20 | 20.0396 | 19.9297 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 17.11.2023 | 1 | 5 | 5.19 | 2.2875 | 20 |  |  |  |  | Regression Sum of Squares | 3.6274 | 0.017432 | Residual sum of Squares
1 | Blank |  |  |  | 17.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 5.193 | 0.8252 |  | 6.9798 | 7.1792 | 20 |  |  | x20 dil
3 | 20-20-T | 20 | 20 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 20 Top Mean Replicate
6 | 0-10-B | 0 | 10 | B | 17.11.2023 | 1 | 5.191 | 0.0136 |  | -0.26862 | 0.102 | 5 | -1.3431 | 0.51 | 0 10 B Mean Replicate | LOD & LOQ |  | LOD | LOQ
9 | 10-90-T | 10 | 90 | T | 17.11.2023 | 1 | 5.19 | 0.070333 |  | 0.23806 | 0.5969 | 5 | 1.1903 | 2.9845 | 10 90 T Mean Replicate |  | Peak Area | #DIV/0! | #DIV/0!
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 5.19 | 0.0308 |  | -0.11501 | 0.2519 | 5 | -0.57504 | 1.2595 | 0 10 Top |  | Calc Conc ppm | #DIV/0! | #DIV/0!
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | 5.19 | 0.1109 |  | 0.60037 | 0.9509 | 5 | 3.0018 | 4.7545 | 0 20 Top |  | Measure conc ppm | #DIV/0! | #DIV/0!
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | 5.19 | 0.0375 |  | -0.055171 | 0.3102 | 5 | -0.27585 | 1.551 | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 5.187 | 0.863 |  | 7.3174 | 7.5087 | 20 |  |  | x20 dil |  | Retention time | 5.1906 | 5.19 | 0.001916 | 0.036912 | 3.671e-06 | 5.197 | 5.187 | 0.01 | 22 | 0.00040849
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 60 Top |  | Peak Area Cal Checks | 0.85573 | 0.863 | 0.027626 | 3.2284 | 0.00076321 | 0.879 | 0.8252 | 0.0538 | 3 | 0.01595
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 70 Top |  | Calc Conc Cal Checks | 7.2525 | 7.3174 | 0.24673 | 3.402 | 0.060876 | 7.4603 | 6.9798 | 0.48049 | 3 | 0.14245
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | 5.193 | 0.0204 |  | -0.20789 | 0.1615 | 5 | -1.0395 | 0.8075 | 0 80 Top |  | Measure Conc Cal Checks | 7.4453 | 7.5087 | 0.24079 | 3.2341 | 0.057978 | 7.6481 | 7.1792 | 0.4689 | 3 | 0.13902
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | 5.19 | 0.0761 |  | 0.28957 | 0.6475 | 5 | 1.4478 | 3.2375 | 0 90 Top |  | Peak Area Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | 5.19 | 0.0455 |  | 0.016277 | 0.38 | 5 | 0.081387 | 1.9 | 0 100 Top |  | Calc Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 0 60 Bottom |  | Measure Conc Blanks | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | 5.19 | 0.0338 |  | -0.088215 | 0.2783 | 5 | -0.44108 | 1.3915 | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | 5.19 | 0.0147 |  | -0.2588 | 0.112 | 5 | -1.294 | 0.56 | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | 5.19 | 0.0162 |  | -0.2454 | 0.1246 | 5 | -1.227 | 0.623 | 10 60 Top |  |  | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | 5.19 | 0.0765 |  | 0.29314 | 0.651 | 5 | 1.4657 | 3.255 | 10 70 Top |  | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.6184 | 4.8739 | 102 | 1 | 5.1 | 95.5667 | 90.5574
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | 5.193 | 0.0287 |  | -0.13376 | 0.2336 | 5 | -0.66882 | 1.168 | 10 10 Bottom |  | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 7.2525 | 7.4453 | 100 | 1 | 5 | 148.9067 | 145.0497
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | 5.19 | 0.0115 |  | -0.28738 | 0.0841 | 5 | -1.4369 | 0.4205 | 10 50 Bottom
29 | Cal Check |  |  |  | 17.11.2023 | 1 | 5.19 | 0.879 |  | 7.4603 | 7.6481 | 20 |  |  | x20 dil
30 | Blank |  |  |  | 17.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water |  |  | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.5608 | 0.85573 | 4.6184 | 4.8739 | 7.2525 | 7.4453 | 65.5344 | 63.6807 | 65.4625
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrate_calc_ppm | c_Nitrate_measure_ppm
[17 empty] | 3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | NA | NA | NA | NA
[17 empty] | 6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | 5.19 | 0.0133 | -0.2713 | 0.0995
[17 empty] | 7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | 5.193 | 0.0137 | -0.26773 | 0.1027
[17 empty] | 8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | 5.19 | 0.0138 | -0.26684 | 0.1038
[17 empty] | 9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 5.19 | 0.07 | 0.23509 | 0.5939
[17 empty] | 10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 5.19 | 0.0703 | 0.23777 | 0.5966
[17 empty] | 11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 5.19 | 0.0707 | 0.24134 | 0.6002
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 20-20-T | 20 | 20 | T | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrate_calc_ppm | 20-20-T | 20 | 20 | T | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | c_Nitrate_measure_ppm | 20-20-T | 20 | 20 | T | #DIV/0! | #NUM! | #DIV/0! | #DIV/0! | #DIV/0! | 0 | 0 | 0 | 0 | #DIV/0!
[17 empty] | peak_area_usmin | 0-10-B | 0 | 10 | B | 0.0136 | 0.0137 | 0.00026458 | 1.9454 | 7e-08 | 0.0138 | 0.0133 | 0.0005 | 3 | 0.00015275
[17 empty] | c_Nitrate_calc_ppm | 0-10-B | 0 | 10 | B | -0.26862 | -0.26773 | 0.0023629 | -0.87965 | 5.5834e-06 | -0.26684 | -0.2713 | 0.0044655 | 3 | 0.0013642
[17 empty] | c_Nitrate_measure_ppm | 0-10-B | 0 | 10 | B | 0.102 | 0.1027 | 0.0022338 | 2.19 | 4.99e-06 | 0.1038 | 0.0995 | 0.0043 | 3 | 0.0012897
[17 empty] | peak_area_usmin | 10-90-T | 10 | 90 | T | 0.070333 | 0.0703 | 0.00035119 | 0.49932 | 1.2333e-07 | 0.0707 | 0.07 | 0.0007 | 3 | 0.00020276
[17 empty] | c_Nitrate_calc_ppm | 10-90-T | 10 | 90 | T | 0.23806 | 0.23777 | 0.0031365 | 1.3175 | 9.8374e-06 | 0.24134 | 0.23509 | 0.0062517 | 3 | 0.0018108
[17 empty] | c_Nitrate_measure_ppm | 10-90-T | 10 | 90 | T | 0.5969 | 0.5966 | 0.0031607 | 0.52952 | 9.99e-06 | 0.6002 | 0.5939 | 0.0063 | 3 | 0.0018248
Note on B2: KNOBLAUCH Alexandra: overestimated peak area
Note on B3: KNOBLAUCH Alexandra: overestimated peak area
Note on B4: KNOBLAUCH Alexandra: overestimated peak area
Note on B5: KNOBLAUCH Alexandra: overestimated peak area
Note on B10: KNOBLAUCH Alexandra: small nitrate peak not detected
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B16: KNOBLAUCH Alexandra: potential nitrate peak
Note on B19: KNOBLAUCH Alexandra: potential nitrate peak
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks

## IC_171123_PO4
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_PO4_ calib_ppm | c_PO4_sample_ppm | c_PO4_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 100 | 6.423 | 0.0854 | 2 | 2.4739 | 247.3913 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 50 | 6.427 | 0.1559 | 4 | 4.0065 | 200.3261 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 20 | 6.423 | 0.3941 | 10 | 9.1848 | 183.6957 | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 10 | 6.423 | 0.8493 | 20 | 19.0804 | 190.8043 | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 5 | 6.42 | 1.8412 | 40 | 40.6435 | 203.2174 | 1 mL in 5
1 | Blank |  |  |  | 17.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 6.427 | 0.4432 |  | 10.2522 | 205.0435 | x20 dil
3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 20 Top Triplicate a | #VALUE!
4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 20 Top Triplicate b
5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 20 Top Triplicate c
6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | 5 | 6.44 | 0.0221 |  | 1.0978 | 5.4891 | 0 10 B Triplicate a | #VALUE!
7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate b
8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 B Triplicate c
9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 5 | 6.38 | 0.0156 |  | 0.95652 | 4.7826 | 10 90 T Triplicate a | 4.837
10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 90 T Triplicate b
11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 5 | 6.38 | 0.0166 |  | 0.97826 | 4.8913 | 10 90 T Triplicate c
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 10 Top
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 20 Top
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | 0 | 6.437 | 0.0218 |  | 1.0913 | 0 | DI Water
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 6.417 | 0.4671 |  | 10.7717 | 215.4348 | x20 dil
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 60 Top
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 70 Top
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 80 Top
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 90 Top
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 100 Top
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 60 Bottom
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 60 Top
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 70 Top
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 10 Bottom
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 50 Bottom
30 | Cal Check |  |  |  | 17.11.2023 | 1 | 20 | 6.417 | 0.473 |  | 10.9 | 218 | x20 dil
29 | Blank |  |  |  | 17.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
Slope | 0.046
y-Axis | 0.0284

## IC_171123_SO4
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Sulfate_ calib_ppm | c_Sulfate_calc_ppm | c_Sulfate_measure_ppm | dilution_factor | c_Sulfate_calc_undil_ppm | c_Sulfate_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Sulfate_ calib_ppm | [5 empty] | Linear Model of Sulfate Calibration
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 7.14 | 0.0311 | 0 | 0.32479 | 0.3248 | 0 |  |  | DI Water |  | Cal 1 | Blank | 17.11.2023 | 1 | 0 | 7.14 | 0.0311 | 0 | [5 empty] | m | c
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 7.18 | 0.1393 | 1 | 1.1101 | 1.11 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 17.11.2023 | 1 | 100 | 7.18 | 0.1393 | 1 |  |  |  |  | m | 0.13778 | -0.013649 | intercept
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 7.197 | 0.2547 | 2 | 1.9477 | 1.948 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 17.11.2023 | 1 | 50 | 7.197 | 0.2547 | 2 |  |  |  |  | Std error of X | 0.0023832 | 0.022399 | Std error of intercept
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 7.193 | 0.6286 | 5 | 4.6615 | 4.6613 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 17.11.2023 | 1 | 20 | 7.193 | 0.6286 | 5 |  |  |  |  | R^2 | 0.9988 | 0.040537 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 7.203 | 1.3287 | 10 | 9.743 | 9.7429 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 17.11.2023 | 1 | 10 | 7.203 | 1.3287 | 10 |  |  |  |  | F-statistic | 3342.2017 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 7.217 | 2.7712 | 20 | 20.2129 | 20.2129 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 17.11.2023 | 1 | 5 | 7.217 | 2.7712 | 20 |  |  |  |  | Regression Sum of Squares | 5.4922 | 0.0065732 | Residual sum of Squares
1 | Blank |  |  |  | 17.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 7.2 | 0.6998 |  | 5.1783 | 5.1781 | 20 |  |  | x20 dil
3 | 20-20-T | 20 | 20 | T | 17.11.2023 | 1 | 7.183 | 0.11203 |  | 0.91222 | 0.91223 | 5 | 4.5611 | 4.5612 | 20 20 Top Mean Replicate
6 | 0-10-B | 0 | 10 | B | 17.11.2023 | 1 | 7.188 | 0.2863 |  | 2.1771 | 2.1773 | 5 | 10.8854 | 10.8865 | 0 10 B Mean Replicate | LOD & LOQ |  | LOD | LOQ
9 | 10-90-T | 10 | 90 | T | 17.11.2023 | 1 | 7.18 | 0.022667 |  | 0.26358 | 0.26377 | 5 | 1.3179 | 1.3188 | 10 90 T Mean Replicate |  | Peak Area | #DIV/0! | #DIV/0!
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 7.187 | 0.2212 |  | 1.7046 | 1.7045 | 5 | 8.5228 | 8.5225 | 0 10 Top |  | Calc Conc ppm | #DIV/0! | #DIV/0!
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | 7.183 | 0.1521 |  | 1.203 | 1.2032 | 5 | 6.0152 | 6.016 | 0 20 Top |  | Measure conc ppm | #DIV/0! | #DIV/0!
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | 7.18 | 0.1116 |  | 0.90908 | 0.9089 | 5 | 4.5454 | 4.5445 | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | 7.157 | 0.013 |  | 0.19342 | 0.1935 | 0 |  |  | DI Water | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 7.193 | 0.7157 |  | 5.2937 | 5.2942 | 20 |  |  | x20 dil |  | Retention time | 7.1824 | 7.18 | 0.014198 | 0.19768 | 0.00020159 | 7.217 | 7.14 | 0.077 | 28 | 0.0026832
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | 7.18 | 0.15 |  | 1.1878 | 1.1883 | 5 | 5.9389 | 5.9415 | 0 60 Top |  | Peak Area Cal Checks | 0.71527 | 0.7157 | 0.015255 | 2.1327 | 0.0002327 | 0.7303 | 0.6998 | 0.0305 | 3 | 0.0088073
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | 7.18 | 0.1306 |  | 1.047 | 1.0471 | 5 | 5.2349 | 5.2355 | 0 70 Top |  | Calc Conc Cal Checks | 5.2906 | 5.2937 | 0.11072 | 2.0928 | 0.012259 | 5.3997 | 5.1783 | 0.22137 | 3 | 0.063924
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | 7.18 | 0.1022 |  | 0.84085 | 0.8412 | 5 | 4.2042 | 4.206 | 0 80 Top |  | Measure Conc Cal Checks | 5.2908 | 5.2942 | 0.11109 | 2.0996 | 0.012341 | 5.4002 | 5.1781 | 0.2221 | 3 | 0.064137
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | 7.177 | 0.0728 |  | 0.62746 | 0.6272 | 5 | 3.1373 | 3.136 | 0 90 Top |  | Peak Area Blanks | 0.013 | 0.013 | #DIV/0! | #DIV/0! | #DIV/0! | 0.013 | 0.013 | 0 | 1 | #DIV/0!
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | 7.18 | 0.0635 |  | 0.55996 | 0.5602 | 5 | 2.7998 | 2.801 | 0 100 Top |  | Calc Conc Blanks | 0.19342 | 0.19342 | #DIV/0! | #DIV/0! | #DIV/0! | 0.19342 | 0.19342 | 0 | 1 | #DIV/0!
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | 7.18 | 0.1251 |  | 1.0071 | 1.0072 | 5 | 5.0353 | 5.036 | 0 60 Bottom |  | Measure Conc Blanks | 0.1935 | 0.1935 | #DIV/0! | #DIV/0! | #DIV/0! | 0.1935 | 0.1935 | 0 | 1 | #DIV/0!
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | 7.18 | 0.0775 |  | 0.66157 | 0.6617 | 5 | 3.3079 | 3.3085 | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | 7.167 | 0.0119 |  | 0.18544 | 0.1859 | 5 | 0.92719 | 0.9295 | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | 7.173 | 0.0311 |  | 0.32479 | 0.3247 | 5 | 1.624 | 1.6235 | 10 60 Top |  |  | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | 7.183 | 0.0779 |  | 0.66448 | 0.6643 | 5 | 3.3224 | 3.3215 | 10 70 Top |  | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.6615 | 4.6613 | 101 | 1 | 5.05 | 92.303 | 92.3077
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | 7.177 | 0.0274 |  | 0.29794 | 0.2982 | 5 | 1.4897 | 1.491 | 10 10 Bottom |  | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 5.2906 | 5.2908 | 100 | 1 | 5 | 105.8167 | 105.8116
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | 7.177 | 0.0438 |  | 0.41697 | 0.4175 | 5 | 2.0849 | 2.0875 | 10 50 Bottom
29 | Cal Check |  |  |  | 17.11.2023 | 1 | 7.193 | 0.7303 |  | 5.3997 | 5.4002 | 20 |  |  | x20 dil
30 | Blank |  |  |  | 17.11.2023 | 1 | NA | NA |  | NA | NA | 0 |  |  | DI Water |  |  | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.6286 | 0.71527 | 4.6615 | 4.6613 | 5.2906 | 5.2908 | 87.8833 | 88.1102 | 88.1014
[16 empty] | Triplicates | sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Sulfate_calc_ppm | c_Sulfate_measure_ppm
[17 empty] | 3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | 7.183 | 0.1125 | 0.91561 | 0.9155
[17 empty] | 4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | 7.183 | 0.1116 | 0.90908 | 0.9091
[17 empty] | 5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | 7.183 | 0.112 | 0.91198 | 0.9121
[17 empty] | 6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | 7.187 | 0.3285 | 2.4834 | 2.4833
[17 empty] | 7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | 7.19 | 0.266 | 2.0297 | 2.0301
[17 empty] | 8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | 7.187 | 0.2644 | 2.0181 | 2.0185
[17 empty] | 9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 7.18 | 0.0251 | 0.28125 | 0.2816
[17 empty] | 10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 7.18 | 0.0179 | 0.22899 | 0.2289
[17 empty] | 11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 7.18 | 0.025 | 0.28052 | 0.2808
[18 empty] | sample_id | X | Y | B_T | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
[17 empty] | peak_area_usmin | 20-20-T | 20 | 20 | T | 0.11203 | 0.112 | 0.00045092 | 0.40249 | 2.0333e-07 | 0.1125 | 0.1116 | 0.0009 | 3 | 0.00026034
[17 empty] | c_Sulfate_calc_ppm | 20-20-T | 20 | 20 | T | 0.91222 | 0.91198 | 0.0032729 | 0.35878 | 1.0712e-05 | 0.91561 | 0.90908 | 0.0065323 | 3 | 0.0018896
[17 empty] | c_Sulfate_measure_ppm | 20-20-T | 20 | 20 | T | 0.91223 | 0.9121 | 0.0032021 | 0.35102 | 1.0253e-05 | 0.9155 | 0.9091 | 0.0064 | 3 | 0.0018487
[17 empty] | peak_area_usmin | 0-10-B | 0 | 10 | B | 0.2863 | 0.266 | 0.036555 | 12.7681 | 0.0013363 | 0.3285 | 0.2644 | 0.0641 | 3 | 0.021105
[17 empty] | c_Sulfate_calc_ppm | 0-10-B | 0 | 10 | B | 2.1771 | 2.0297 | 0.26532 | 12.1871 | 0.070396 | 2.4834 | 2.0181 | 0.46525 | 3 | 0.15318
[17 empty] | c_Sulfate_measure_ppm | 0-10-B | 0 | 10 | B | 2.1773 | 2.0301 | 0.26507 | 12.1741 | 0.070261 | 2.4833 | 2.0185 | 0.4648 | 3 | 0.15304
[17 empty] | peak_area_usmin | 10-90-T | 10 | 90 | T | 0.022667 | 0.025 | 0.0041284 | 18.2133 | 1.7043e-05 | 0.0251 | 0.0179 | 0.0072 | 3 | 0.0023835
[17 empty] | c_Sulfate_calc_ppm | 10-90-T | 10 | 90 | T | 0.26358 | 0.28052 | 0.029964 | 11.368 | 0.00089786 | 0.28125 | 0.22899 | 0.052259 | 3 | 0.0173
[17 empty] | c_Sulfate_measure_ppm | 10-90-T | 10 | 90 | T | 0.26377 | 0.2808 | 0.030198 | 11.4488 | 0.00091192 | 0.2816 | 0.2289 | 0.0527 | 3 | 0.017435
Note on B2: KNOBLAUCH Alexandra: overestimated peak area
Note on B5: KNOBLAUCH Alexandra: overestimated peak area
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B16: KNOBLAUCH Alexandra: overestimated peak area
Note on B19: KNOBLAUCH Alexandra: potential nitrate peak
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks