## calibration
| x100 | x50 | x20 | x10 | x5 | x0
Fluoride | 0.2 | 0.4 | 1 | 2 | 4 | 20
Chloride | 1 | 2 | 5 | 10 | 20 | 100
Nitrite | 1 | 2 | 5 | 10 | 20 | 100
Bromide | 1 | 2 | 5 | 10 | 20 | 100
Nitrate | 1 | 2 | 5 | 10 | 20 | 100
Phosphate | 2 | 4 | 10 | 20 | 40 | 200
Sulfate | 1 | 2 | 5 | 10 | 20 | 100

## IC_231123_F
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_F_ calib_ppm | c_F_sample_ppm | c_F_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 100 | 2.917 | 0.0499 | 0.2 | 0.2 | 20 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 50 | 2.917 | 0.1266 | 0.4 | 0.50741 | 25.3707 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 20 | n.a. | n.a. | 1 | #VALUE! | #VALUE! | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 10 | n.a. | n.a. | 2 | #VALUE! | #VALUE! | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 5 | n.a. | n.a. | 4 | #VALUE! | #VALUE! | 1 mL in 5
1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 2.943 | 0.0456 | 0 | 0.18277 | 0 | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 20 | 2.913 | 0.2323 | 1 | 0.93106 | 18.6212 | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 40 Top
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 50 Top
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Top
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 70 Top
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Top
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 5 | 2.98 | 0.0525 |  | 0.21042 | 1.0521 | 20 30 Bottom
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 90 Bottom
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Bottom
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | 25 | 2.93 | 0.0572 |  | 0.22926 | 5.7315 | 10 90 Top diluted
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 25 | 2.93 | 0.0362 | 1 | 0.14509 | 3.6273 | 20 100 Bottom diluted
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 20 | 2.917 | 0.2587 | 0 | 1.0369 | 20.7375 | x20 dil
16 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 2.933 | 0.0559 |  | 0.22405 | 0 | DI Water
17 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 2.933 | 0.056 |  | 0.22445 | 0 | DI Water
Slope | 0.2495
y-axis | 0

## IC_231123_Cl
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | c_Cl_calc_ppm | c_Cl_measure_ppm | dilution_factor | c_Cl_calc_undil_ppm | c_Cl_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm |  |  |  |  | Linear Model of Cl Calibration
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 3.663 | 0.1386 | 0 | 0.63111 | 0.546 | 0 |  |  | DI Water |  | Cal 1 | Blank | 23.11.2023 | 1 | 0 | 3.663 | 0.1386 | 0 |  |  |  |  | m | c
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 3.663 | 0.1664 | 1 | 0.77085 | 0.6865 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 23.11.2023 | 1 | 100 | 3.663 | 0.1664 | 1 |  |  |  | m | 0.19895 | 0.013041 | intercept
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 3.663 | 0.464 | 2 | 2.2667 | 2.1907 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 23.11.2023 | 1 | 50 | 3.663 | 0.464 | 2 |  |  |  | Std error of X | 0.0073359 | 0.068947 | Std error of intercept
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 3.667 | 0.9472 | 5 | 4.6955 | 4.6338 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 23.11.2023 | 1 | 20 | 3.667 | 0.9472 | 5 |  |  |  | R^2 | 0.99459 | 0.12478 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 3.667 | 1.8334 | 10 | 9.1499 | 9.114 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 23.11.2023 | 1 | 10 | 3.667 | 1.8334 | 10 |  |  |  | F-statistic | 735.4953 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 3.67 | 4.0887 | 20 | 20.486 | 20.5155 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 23.11.2023 | 1 | 5 | 3.67 | 4.0887 | 20 |  |  |  | Regression Sum of Squares | 11.452 | 0.062282 | Residual sum of Squares
1 | Blank |  |  |  | 23.11.2023 | 1 | 3.663 | 0.3778 |  | 1.8334 | 1.7551 | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 3.67 | 1.2968 |  | 6.4527 | 6.4011 | 20 |  |  | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | 3.663 | 0.2217 |  | 1.0488 | 0.9662 | 5 | 5.244 | 4.831 | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | 3.663 | 0.3249 |  | 1.5675 | 1.4875 | 5 | 7.8377 | 7.4375 | 20 40 Top | LOD & LOQ |  | LOD | LOQ
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | 3.663 | 0.191 |  | 0.89449 | 0.8106 | 5 | 4.4725 | 4.053 | 20 50 Top |  | Peak Area | 0.4364 | 0.64553
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | 3.667 | 0.1507 |  | 0.69193 | 0.6069 | 5 | 3.4597 | 3.0345 | 20 60 Top |  | Calc Conc ppm | 2.128 | 3.1792
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | 3.667 | 0.733 |  | 3.6188 | 3.5509 | 5 | 18.0941 | 17.7545 | 20 70 Top |  | Measure conc ppm | 2.0512 | 3.1081
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | 3.663 | 0.2785 |  | 1.3343 | 1.2531 | 5 | 6.6715 | 6.2655 | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | 3.667 | 0.2656 |  | 1.2695 | 1.188 | 5 | 6.3473 | 5.94 | 20 100 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 3.67 | 2.1337 |  | 10.6593 | 10.6317 | 5 | 53.2966 | 53.1585 | 20 30 Bottom |  | Retention time | 3.6794 | 3.667 | 0.051735 | 1.4061 | 0.0026765 | 3.91 | 3.663 | 0.247 | 23 | 0.010788
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | 3.667 | 0.2708 |  | 1.2956 | 1.2142 | 5 | 6.478 | 6.071 | 20 90 Bottom |  | Peak Area Cal Checks | 1.4638 | 1.4638 | 0.2361 | 16.13 | 0.055745 | 1.6307 | 1.2968 | 0.3339 | 2 | 0.16695
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 3.91 | 267.641 |  | 1345.2107 | NA | 5 | 6726.0534 | NA | 20 100 Bottom |  | Calc Conc Cal Checks | 7.2919 | 7.2919 | 1.1868 | 16.275 | 1.4084 | 8.131 | 6.4527 | 1.6783 | 2 | 0.83916
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | 3.677 | 5.5568 |  | 27.8653 | 27.9372 | 25 | 696.6316 | 698.43 | 10 90 Top diluted |  | Measure Conc Cal Checks | 7.245 | 7.245 | 1.1935 | 16.4737 | 1.4245 | 8.089 | 6.4011 | 1.6879 | 2 | 0.84395
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 3.723 | 42.41 |  | 213.1049 | 214.2464 | 25 | 5327.6236 | 5356.16 | 20 100 Bottom diluted |  | Peak Area Blanks | 0.34677 | 0.3443 | 0.029876 | 8.6157 | 0.0008926 | 0.3778 | 0.3182 | 0.0596 | 3 | 0.017249
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 3.667 | 1.6307 |  | 8.131 | 8.089 |  |  |  | x20 dil |  | Calc Conc Blanks | 1.6774 | 1.665 | 0.15017 | 8.9524 | 0.022552 | 1.8334 | 1.5339 | 0.29957 | 3 | 0.086702
16 | Blank |  |  |  | 23.11.2023 | 1 | 3.667 | 0.3182 |  | 1.5339 | 1.4539 |  |  |  | DI Water |  | Measure Conc Blanks | 1.5982 | 1.5857 | 0.15099 | 9.4473 | 0.022798 | 1.7551 | 1.4539 | 0.3012 | 3 | 0.087174
17 | Blank |  |  |  | 23.11.2023 | 1 | 3.667 | 0.3443 |  | 1.665 | 1.5857 |  |  |  | DI Water
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.6955 | 4.6338 | 100 | 1 | 5 | 92.676 | 93.9095
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 7.2919 | 7.245 | 100 | 1 | 5 | 144.901 | 145.8374
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.9472 | 1.4638 | 4.6955 | 4.6338 | 7.2919 | 7.245 | 64.7105 | 64.3933 | 63.9582
Note on B8: KNOBLAUCH Alexandra: Overestimated peak integration area
Note on B11: KNOBLAUCH Alexandra: Overestimated peak integration area
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B14: KNOBLAUCH Alexandra: Overestimated peak area
Note on B19: KNOBLAUCH Alexandra: Fill in manually, beyond calibration range
Note on B22: KNOBLAUCH Alexandra: potential contamination from previous high sample
Note on B23: KNOBLAUCH Alexandra: Overestimated peak integration area
Note on B24: KNOBLAUCH Alexandra: Overestimated peak integration area
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks

## IC_231123_Nitrite
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrite_ calib_ppm | c_Nitrite_calc_ppm | c_Nitrite_measure_ppm | dilution_factor | c_Nitrite_calc_undil_ppm | c_Nitrite_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Nitrite_ calib_ppm |  |  |  |  | Linear Model of Nitrite Calibration
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 0 | 0 | 0.5082 | 0 | 0 |  |  | DI Water |  | Cal 1 | Blank | 23.11.2023 | 1 | 0 | 0 | 0 | 0 |  |  |  |  | m | c
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 4.173 | 0.065 | 1 | 1.0886 | 1.2915 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 23.11.2023 | 1 | 100 | 4.173 | 0.065 | 1 |  |  |  | m | 0.11198 | -0.05691 | intercept
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 4.173 | 0.1585 | 2 | 1.9236 | 2.1131 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 23.11.2023 | 1 | 50 | 4.173 | 0.1585 | 2 |  |  |  | Std error of X | 0.0027794 | 0.026123 | Std error of intercept
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 4.177 | 0.4343 | 5 | 4.3865 | 4.5369 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 23.11.2023 | 1 | 20 | 4.177 | 0.4343 | 5 |  |  |  | R^2 | 0.99754 | 0.047278 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 4.18 | 1.0487 | 10 | 9.873 | 9.9372 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 23.11.2023 | 1 | 10 | 4.18 | 1.0487 | 10 |  |  |  | F-statistic | 1623.2754 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 4.18 | 2.2074 | 20 | 20.2201 | 20.1213 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 23.11.2023 | 1 | 5 | 4.18 | 2.2074 | 20 |  |  |  | Regression Sum of Squares | 3.6283 | 0.0089407 | Residual sum of Squares
1 | Blank |  |  |  | 23.11.2023 | 1 | 4.173 | 0.0121 |  | 0.61625 | 0.8263 | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 4.18 | 0.4943 |  | 4.9223 | 5.0648 | 20 |  |  | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 40 Top | LOD & LOQ |  | LOD | LOQ
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 50 Top |  | Peak Area | 0.06741 | 0.17185
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 60 Top |  | Calc Conc ppm | 1.1102 | 2.0428
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 70 Top |  | Measure conc ppm | 1.3139 | 2.2345
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 100 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 4.09 | 0.1485 |  | 1.8343 | 2.0254 | 5 | 9.1715 | 10.127 | 20 30 Bottom |  | Retention time | 4.159 | 4.173 | 0.051275 | 1.2329 | 0.0026292 | 4.26 | 4.057 | 0.203 | 13 | 0.014221
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 90 Bottom |  | Peak Area Cal Checks | 0.51055 | 0.51055 | 0.022981 | 4.5012 | 0.00052813 | 0.5268 | 0.4943 | 0.0325 | 2 | 0.01625
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 4.26 | 2.202 |  | 20.1719 | 20.0733 | 5 | 100.8593 | 100.3665 | 20 100 Bottom |  | Calc Conc Cal Checks | 5.0674 | 5.0674 | 0.20522 | 4.0498 | 0.042114 | 5.2125 | 4.9223 | 0.29022 | 2 | 0.14511
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | 4.057 | 0.4054 |  | 4.1284 | 4.2831 | 25 | 103.2097 | 107.0775 | 10 90 Top diluted |  | Measure Conc Cal Checks | 5.2073 | 5.2073 | 0.2016 | 3.8714 | 0.040641 | 5.3499 | 5.0648 | 0.2851 | 2 | 0.14255
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 4.1 | 0.7538 |  | 7.2396 | 7.3451 | 25 | 180.9893 | 183.6275 | 20 100 Bottom diluted |  | Peak Area Blanks | 0.02265 | 0.02265 | 0.01492 | 65.8718 | 0.00022261 | 0.0332 | 0.0121 | 0.0211 | 2 | 0.01055
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 4.177 | 0.5268 |  | 5.2125 | 5.3499 |  |  |  | x20 dil |  | Calc Conc Blanks | 0.71047 | 0.71047 | 0.13323 | 18.7531 | 0.017751 | 0.80468 | 0.61625 | 0.18842 | 2 | 0.094211
16 | Blank |  |  |  | 23.11.2023 | 1 | 4.147 | 0.0332 |  | 0.80468 | 1.0123 |  |  |  | DI Water |  | Measure Conc Blanks | 0.9193 | 0.9193 | 0.13152 | 14.3067 | 0.017298 | 1.0123 | 0.8263 | 0.186 | 2 | 0.093
17 | Blank |  |  |  | 23.11.2023 | 1 | NA | NA |  | NA | NA |  |  |  | DI Water
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.3865 | 4.5369 | 102 | 1 | 5.1 | 88.9588 | 86.0091
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 5.0674 | 5.2073 | 100 | 1 | 5 | 104.147 | 101.3474
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.4343 | 0.51055 | 4.3865 | 4.5369 | 5.0674 | 5.2073 | 85.0651 | 86.5629 | 87.1249
Note on B4: KNOBLAUCH Alexandra: Overestimated Peak Integration Area
Note on B11: KNOBLAUCH Alexandra: Overestimated peak integration area
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B17: KNOBLAUCH Alexandra: Nitrite influenced by previous Cl peak; overestimated
Note on B19: KNOBLAUCH Alexandra: Nitrite peak hard to detect, use diluted 20 100 B - only Cl not in calibration range, use this Nitrite value instead since in range
Note on B20: KNOBLAUCH Alexandra: Nitrite influenced by previous Cl peak; overestimated
Note on B22: KNOBLAUCH Alexandra: potential contamination from previous high sample
Note on B23: KNOBLAUCH Alexandra: Overestimated peak integration area
Note on B24: KNOBLAUCH Alexandra: Overestimated peak integration area
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks

## IC_231123_Br
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Br_ calib_ppm | c_Br_sample_ppm | c_Br_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 5 | 4.743 | 0.0595 | 1 | 0.8769 | 4.3845 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 10 | 4.743 | 0.1677 | 2 | 2.25 | 22.5 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 20 | 4.743 | 0.3697 | 5 | 4.8135 | 96.269 | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 50 | 4.743 | 0.763 | 10 | 9.8046 | 490.2284 | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 100 | 4.74 | 1.5752 | 20 | 20.1117 | 2011.1675 | 1 mL in 5
1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 4.747 | 0.0086 |  | 0.23096 | 0 | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 20 | 4.747 | 0.4275 |  | 5.547 | 110.9391 | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 40 Top
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 50 Top
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Top
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 70 Top
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Top
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 30 Bottom
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 90 Bottom
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Bottom
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | 25 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 90 Top diluted
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 25 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Bottom diluted
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 20 | 4.743 | 0.4267 |  | 5.5368 | 110.736 | x20 dil
16 | Blank |  |  |  | 23.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
17 | Blank |  |  |  | 23.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
Slope | 0.0788
y-axis | 0.0096

## IC_231123_Nitrate
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Nitrate_ calib_ppm | c_Nitrate_calc_ppm | c_Nitrate_measure_ppm | dilution_factor | c_Nitrate_calc_undil_ppm | c_Nitrate_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Nitrate_ calib_ppm |  |  |  |  | Linear Model of Nitrate Calibration
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | DI Water |  | Cal 1 | Blank | 23.11.2023 | 1 | 0 | 0 | 0 | 0 |  |  |  |  | m | c
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 5.177 | 0.1977 | 1 | 1.4555 | 1.5421 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 23.11.2023 | 1 | 100 | 5.177 | 0.1977 | 1 |  |  |  | m | 0.11335 | 0.032728 | intercept
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 5.177 | 0.2493 | 2 | 1.9107 | 1.9944 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 23.11.2023 | 1 | 50 | 5.177 | 0.2493 | 2 |  |  |  | Std error of X | 0.002124 | 0.019962 | Std error of intercept
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 5.173 | 0.5731 | 5 | 4.7675 | 4.835 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 23.11.2023 | 1 | 20 | 5.173 | 0.5731 | 5 |  |  |  | R^2 | 0.9986 | 0.036129 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 5.173 | 1.1913 | 10 | 10.2216 | 10.2574 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 23.11.2023 | 1 | 10 | 5.173 | 1.1913 | 10 |  |  |  | F-statistic | 2847.766 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 5.17 | 2.2921 | 20 | 19.9335 | 19.9131 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 23.11.2023 | 1 | 5 | 5.17 | 2.2921 | 20 |  |  |  | Regression Sum of Squares | 3.7171 | 0.0052211 | Residual sum of Squares
1 | Blank |  |  |  | 23.11.2023 | 1 | 5.18 | 0.016 |  | -0.14759 | -0.0518 | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 5.177 | 0.8789 |  | 7.4654 | 7.5168 | 20 |  |  | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | 5.177 | 0.0185 |  | -0.12553 | -0.0302 | 5 | -0.62766 | -0.151 | 20 40 Top | LOD & LOQ |  | LOD | LOQ
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 50 Top |  | Peak Area | 0.021188 | 0.037027
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | 5.177 | 0.0132 |  | -0.17229 | -0.0766 | 5 | -0.86146 | -0.383 | 20 60 Top |  | Calc Conc ppm | -0.10181 | 0.037928
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 5 | NA | NA | 20 70 Top |  | Measure conc ppm | -0.0057545 | 0.13482
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | 5.177 | 0.0125 |  | -0.17847 | -0.0823 | 5 | -0.89234 | -0.4115 | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | 5.177 | 0.0137 |  | -0.16788 | -0.0718 | 5 | -0.8394 | -0.359 | 20 100 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 5.18 | 0.1004 |  | 0.59704 | 0.6885 | 5 | 2.9852 | 3.4425 | 20 30 Bottom |  | Retention time | 5.1764 | 5.177 | 0.002893 | 0.055888 | 8.3693e-06 | 5.18 | 5.17 | 0.01 | 18 | 0.00068188
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | 5.18 | 0.0162 |  | -0.14582 | -0.0504 | 5 | -0.72912 | -0.252 | 20 90 Bottom |  | Peak Area Cal Checks | 0.8644 | 0.8644 | 0.020506 | 2.3723 | 0.0004205 | 0.8789 | 0.8499 | 0.029 | 2 | 0.0145
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 5.18 | 0.0521 |  | 0.17091 | 0.265 | 5 | 0.85454 | 1.325 | 20 100 Bottom |  | Calc Conc Cal Checks | 7.3375 | 7.3375 | 0.18092 | 2.4656 | 0.032731 | 7.4654 | 7.2096 | 0.25585 | 2 | 0.12793
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | 5.177 | 0.0109 |  | -0.19258 | -0.0969 | 25 | -4.8146 | -2.4225 | 10 90 Top diluted |  | Measure Conc Cal Checks | 7.3899 | 7.3899 | 0.17946 | 2.4285 | 0.032207 | 7.5168 | 7.263 | 0.2538 | 2 | 0.1269
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 5.173 | 0.0097 |  | -0.20317 | -0.107 | 25 | -5.0793 | -2.675 | 20 100 Bottom diluted |  | Peak Area Blanks | 0.0144 | 0.0144 | 0.0022627 | 15.7135 | 5.12e-06 | 0.016 | 0.0128 | 0.0032 | 2 | 0.0016
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 5.173 | 0.8499 |  | 7.2096 | 7.263 |  |  |  | x20 dil |  | Calc Conc Blanks | -0.1617 | -0.1617 | 0.019963 | -12.3455 | 0.00039853 | -0.14759 | -0.17582 | 0.028232 | 2 | 0.014116
16 | Blank |  |  |  | 23.11.2023 | 1 | 5.177 | 0.0128 |  | -0.17582 | -0.0802 |  |  |  | DI Water |  | Measure Conc Blanks | -0.066 | -0.066 | 0.020082 | -30.427 | 0.00040328 | -0.0518 | -0.0802 | 0.0284 | 2 | 0.0142
17 | Blank |  |  |  | 23.11.2023 | 1 | NA | NA |  | NA | NA |  |  |  | DI Water
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.7675 | 4.835 | 102 | 1 | 5.1 | 94.8039 | 93.4798
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 7.3375 | 7.3899 | 100 | 1 | 5 | 147.798 | 146.7498
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.5731 | 0.8644 | 4.7675 | 4.835 | 7.3375 | 7.3899 | 66.3003 | 64.9742 | 65.4271
Note on B8: KNOBLAUCH Alexandra: Overestimated peak integration area; potential contamination from cal 6
Note on B10: KNOBLAUCH Alexandra: Potential peak at 5s but not detected by instrument
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B14: KNOBLAUCH Alexandra: Overestimated peak area
Note on B19: KNOBLAUCH Alexandra: Nitrate peak hard to detect, use diluted 20 100 B - only Cl not in calibration range, use this Nitrate value instead since in range
Note on B22: KNOBLAUCH Alexandra: potential contamination from previous high sample
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks

## IC_231123_PO4
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_PO4_ calib_ppm | c_PO4_sample_ppm | c_PO4_og_ppm | IC_notes
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | n.a. | n.a. | 0 | #VALUE! | #VALUE! | DI Water
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 5 | 6.447 | 0.0593 | 2 | 2.0376 | 10.1881 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 10 | 6.443 | 0.1569 | 4 | 4.1969 | 41.969 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 20 | 6.437 | 0.3847 | 10 | 9.2367 | 184.7345 | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 50 | 6.437 | 0.8367 | 20 | 19.2367 | 961.8363 | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 100 | 6.433 | 1.7988 | 40 | 40.5221 | 4052.2124 | 1 mL in 5
1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 6.497 | 0.0154 |  | 1.0664 | 0 | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 20 | 6.443 | 0.4651 |  | 11.0155 | 220.3097 | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 40 Top
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 50 Top
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 60 Top
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 70 Top
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Top
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 30 Bottom
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 90 Bottom
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 5 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Bottom
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | 25 | n.a. | n.a. |  | #VALUE! | #VALUE! | 10 90 Top diluted
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 25 | n.a. | n.a. |  | #VALUE! | #VALUE! | 20 100 Bottom diluted
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 20 | 6.437 | 0.4387 |  | 10.4314 | 208.6283 | x20 dil
16 | Blank |  |  |  | 23.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
17 | Blank |  |  |  | 23.11.2023 | 1 | 0 | n.a. | n.a. |  | #VALUE! | #VALUE! | DI Water
Slope | 0.0452
y-axis | 0.0328

## IC_231123_SO4
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Sulfate_ calib_ppm | c_Sulfate_calc_ppm | c_Sulfate_measure_ppm | dilution_factor | c_Sulfate_calc_undil_ppm | c_Sulfate_measure_undil_ppm | IC_notes | Calibration | sample_no | sample_id | IC_date | V_sample_ml | dilution_factor | ret_time_min | peak_area_usmin | c_Sulfate_ calib_ppm |  |  |  |  | Linear Model of Sulfate Calibration
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 0 | 0 | 0 | 0 | 0 |  |  | DI Water |  | Cal 1 | Blank | 23.11.2023 | 1 | 0 | 0 | 0 | 0 |  |  |  |  | m | c
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 7.15 | 0.1122 | 1 | 0.97184 | 1.04 | 100 |  |  | 0.1 mL in 10 |  | Cal 2 | x 100 | 23.11.2023 | 1 | 100 | 7.15 | 0.1122 | 1 |  |  |  | m | 0.13945 | -0.023324 | intercept
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 7.157 | 0.2738 | 2 | 2.1307 | 2.1928 | 50 |  |  | 0.2 mL in 10 |  | Cal 3 | x 50 | 23.11.2023 | 1 | 50 | 7.157 | 0.2738 | 2 |  |  |  | Std error of X | 0.0015543 | 0.014608 | Std error of intercept
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 7.16 | 0.6404 | 5 | 4.7595 | 4.8075 | 20 |  |  | 0.5 mL in 10 |  | Cal 4 | x 20 | 23.11.2023 | 1 | 20 | 7.16 | 0.6404 | 5 |  |  |  | R^2 | 0.9995 | 0.026439 | Std error of Y estimate
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 7.173 | 1.3495 | 10 | 9.8445 | 9.8657 | 10 |  |  | 0.5 mL in 5 |  | Cal 5 | x 10 | 23.11.2023 | 1 | 10 | 7.173 | 1.3495 | 10 |  |  |  | F-statistic | 8049.4861 | 4 | Degrees of freedom
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 7.187 | 2.7833 | 20 | 20.1262 | 20.094 | 5 |  |  | 1 mL in 5 |  | Cal 6 | x 5 | 23.11.2023 | 1 | 5 | 7.187 | 2.7833 | 20 |  |  |  | Regression Sum of Squares | 5.6266 | 0.002796 | Residual sum of Squares
1 | Blank |  |  |  | 23.11.2023 | 1 | 7.143 | 0.0165 |  | 0.28558 | 0.3574 | 0 |  |  | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 7.17 | 0.7759 |  | 5.7312 | 5.7745 | 20 |  |  | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | 7.153 | 0.0681 |  | 0.6556 | 0.7252 | 5 | 3.278 | 3.626 | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | 7.15 | 0.0535 |  | 0.5509 | 0.6213 | 5 | 2.7545 | 3.1065 | 20 40 Top | LOD & LOQ |  | LOD | LOQ
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | 7.153 | 0.0519 |  | 0.53943 | 0.6095 | 5 | 2.6971 | 3.0475 | 20 50 Top |  | Peak Area | 0.026066 | 0.055269
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | 7.16 | 0.0864 |  | 0.78683 | 0.8563 | 5 | 3.9341 | 4.2815 | 20 60 Top |  | Calc Conc ppm | 0.35417 | 0.56359
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | 7.157 | 0.0698 |  | 0.66779 | 0.7375 | 5 | 3.3389 | 3.6875 | 20 70 Top |  | Measure conc ppm | 0.42582 | 0.6347
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | 7.153 | 0.0734 |  | 0.6936 | 0.7636 | 5 | 3.468 | 3.818 | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | 7.153 | 0.0251 |  | 0.34725 | 0.4184 | 5 | 1.7362 | 2.092 | 20 100 Top | Quality Stats |  | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 7.157 | 0.0536 |  | 0.55162 | 0.6222 | 5 | 2.7581 | 3.111 | 20 30 Bottom |  | Retention time | 7.1606 | 7.157 | 0.016534 | 0.23089 | 0.00027336 | 7.213 | 7.14 | 0.073 | 19 | 0.003793
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | 7.16 | 0.1279 |  | 1.0844 | 1.1522 | 5 | 5.4221 | 5.761 | 20 90 Bottom |  | Peak Area Cal Checks | 0.74105 | 0.74105 | 0.049285 | 6.6507 | 0.002429 | 0.7759 | 0.7062 | 0.0697 | 2 | 0.03485
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 7.213 | 0.2035 |  | 1.6265 | 1.691 | 5 | 8.1327 | 8.455 | 20 100 Bottom |  | Calc Conc Cal Checks | 5.4813 | 5.4813 | 0.35342 | 6.4478 | 0.12491 | 5.7312 | 5.2314 | 0.49982 | 2 | 0.24991
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | NA | NA |  | NA | NA | 25 | NA | NA | 10 90 Top diluted |  | Measure Conc Cal Checks | 5.526 | 5.526 | 0.35143 | 6.3596 | 0.1235 | 5.7745 | 5.2775 | 0.497 | 2 | 0.2485
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | NA | NA |  | NA | NA | 25 | NA | NA | 20 100 Bottom diluted |  | Peak Area Blanks | 0.01355 | 0.01355 | 0.0041719 | 30.7892 | 1.7405e-05 | 0.0165 | 0.0106 | 0.0059 | 2 | 0.00295
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 7.163 | 0.7062 |  | 5.2314 | 5.2775 |  |  |  | x20 dil |  | Calc Conc Blanks | 0.26442 | 0.26442 | 0.029917 | 11.314 | 0.00089501 | 0.28558 | 0.24327 | 0.042309 | 2 | 0.021154
16 | Blank |  |  |  | 23.11.2023 | 1 | 7.14 | 0.0106 |  | 0.24327 | 0.3152 |  |  |  | DI Water |  | Measure Conc Blanks | 0.3363 | 0.3363 | 0.02984 | 8.873 | 0.00089042 | 0.3574 | 0.3152 | 0.0422 | 2 | 0.0211
17 | Blank |  |  |  | 23.11.2023 | 1 | NA | NA |  | NA | NA |  |  |  | DI Water
[18 empty] | Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
[17 empty] | 20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 4.7595 | 4.8075 | 101 | 1 | 5.05 | 95.198 | 94.2484
[17 empty] | 20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 5.4813 | 5.526 | 100 | 1 | 5 | 110.52 | 109.6261
[18 empty] | Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
[17 empty] | Internal accuracy | 0.6404 | 0.74105 | 4.7595 | 4.8075 | 5.4813 | 5.526 | 86.4179 | 86.8324 | 86.9978
Note on U11: KNOBLAUCH Alexandra: LOD = Mean of Blanks + 3*Std of Blanks Exclude Pre calibration and calibration blanks
Note on V11: KNOBLAUCH Alexandra: LOQ = Mean of Blanks + 10*Std of Blanks Exclude Pre calibration and calibration blanks
Note on B19: KNOBLAUCH Alexandra: Sulfate peak hard to detect, use diluted 20 100 B - only Cl not in calibration range, use this Sulphate value instead since in range
Note on B21: KNOBLAUCH Alexandra: Sulfate peak missing although visible in x5 sample
Note on Z26: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on U28: KNOBLAUCH Alexandra: Mean of Cal Checks
Note on AB31: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on T32: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks