## IC_Cl
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | c_Cl_calc_ppm | c_Cl_measure_ppm | dilution_factor | c_Cl_calc_undil_ppm | c_Cl_measure_undil_ppm | IC_notes
Cal 1 | Blank |  |  |  | 20.11.2023 | 1 | 3.667 | 0.3576 | 0 | 1.4968 | 1.3283 | 0 | 0 | 0 | DI Water
Cal 2 | x 100 |  |  |  | 20.11.2023 | 1 | 3.667 | 0.1633 | 1 | 0.52156 | 0.3413 | 100 | 0 | 0 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 20.11.2023 | 1 | 3.667 | 0.4361 | 2 | 1.8908 | 1.727 | 50 | 0 | 0 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 20.11.2023 | 1 | 3.667 | 0.9349 | 5 | 4.3943 | 4.2611 | 20 | 0 | 0 | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 20.11.2023 | 1 | 3.67 | 1.8566 | 10 | 9.0205 | 8.9431 | 10 | 0 | 0 | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 20.11.2023 | 1 | 3.673 | 4.1788 | 20 | 20.676 | 20.7405 | 5 | 0 | 0 | 1 mL in 5
1 | Blank |  |  |  | 20.11.2023 | 1 | 3.667 | 0.1035 | 0 | 0.22142 | 0.0372 | 0 | 0 | 0 | DI Water
2 | Cal Check |  |  |  | 20.11.2023 | 1 | 3.67 | 1.2357 | 0 | 5.9041 | 5.7889 | 20 | 0 | 0 | x20 dil
3 | 0 40 T | 0 | 40 | T | 20.11.2023 | 1 | 3.67 | 0.2515 | 0 | 0.96425 | 0.7895 | 5 | 4.8213 | 3.9475 | 0 40 Top
4 | 10 0 B | 10 | 0 | B | 20.11.2023 | 1 | 3.667 | 0.2714 | 0 | 1.0641 | 0.8904 | 5 | 5.3207 | 4.452 | 10 0 Bottom
5 | 10 90 B | 10 | 90 | B | 20.11.2023 | 1 | 3.67 | 0.4878 | 0 | 2.1503 | 1.9895 | 5 | 10.7514 | 9.9475 | 10 90 Bottom
6 | 10 10 T | 10 | 10 | T | 20.11.2023 | 1 | 3.67 | 0.4029 | 0 | 1.7242 | 1.5586 | 5 | 8.6208 | 7.793 | 10 10 Top
7 | 10 80 T | 10 | 80 | T | 20.11.2023 | 1 | 3.67 | 0.711 | 0 | 3.2706 | 3.1236 | 5 | 16.3528 | 15.618 | 10 80 Top
8 | 10 20 B | 10 | 20 | B | 20.11.2023 | 1 | 3.67 | 0.3903 | 0 | 1.6609 | 1.4946 | 5 | 8.3046 | 7.473 | 10 20 Bottom
9 | 20 30 T | 20 | 30 | T | 20.11.2023 | 1 | 3.67 | 0.4095 | 0 | 1.7573 | 1.5917 | 5 | 8.7864 | 7.9585 | 20 30 Top
10 | 10 30 T | 10 | 30 | T | 20.11.2023 | 1 | 3.67 | 0.4074 | 0 | 1.7467 | 1.5812 | 5 | 8.7337 | 7.906 | 10 30 Top
11 | 10 20 T | 10 | 20 | T | 20.11.2023 | 1 | 3.67 | 0.3981 | 0 | 1.7001 | 1.5339 | 5 | 8.5003 | 7.6695 | 10 20 Top
12 | 10 100 T | 10 | 100 | T | 20.11.2023 | 1 | 3.673 | 1.5415 | 0 | 7.439 | 7.3428 | 5 | 37.1949 | 36.714 | 10 100 Top
13 | 10 80 B | 10 | 80 | B | 20.11.2023 | 1 | 3.67 | 0.1944 | 0 | 0.67766 | 0.4994 | 5 | 3.3883 | 2.497 | 10 80 Bottom
14 | 20 10 B | 20 | 10 | B | 20.11.2023 | 1 | 3.67 | 0.4114 | 0 | 1.7668 | 1.6013 | 5 | 8.8341 | 8.0065 | 20 10 Bottom
15 | Blank |  |  |  | 20.11.2023 | 1 | 3.67 | 0.2494 | 0 | 0.95371 | 0.7784 | 0 | 0 | 0 | DI Water
16 | Cal Check |  |  |  | 20.11.2023 | 1 | 3.673 | 1.2406 | 0 | 5.9287 | 5.814 | 20 | 0 | 0 | x20 dil
17 | 0 90 B | 0 | 90 | B | 20.11.2023 | 1 | 3.73 | 0.0202 | 0 | -0.19668 | -0.3857 | 0 | 0 | 0 | Disregard, started by accident
18 | Blank |  |  |  | 20.11.2023 | 1 | 3.687 | 0.1524 | 0 | 0.46686 | 0.2859 | 0 | 0 | 0 | Disregard, wash column
19 | Blank |  |  |  | 20.11.2023 | 1 | 3.67 | 0.2518 | 0 | 0.96576 | 0.7909 | 0 | 0 | 0 | DI Water
20 | 0 90 B | 0 | 90 | B | 20.11.2023 | 1 | 3.663 | 0.397 | 0 | 1.6945 | 1.5282 | 5 | 8.4727 | 7.641 | 0 90 Bottom
21 | 10 40 T | 10 | 40 | T | 20.11.2023 | 1 | 3.663 | 0.3895 | 0 | 1.6569 | 1.4905 | 5 | 8.2845 | 7.4525 | 10 40 Top
22 | 10 50 T | 10 | 50 | T | 20.11.2023 | 1 | 3.663 | 0.3562 | 0 | 1.4898 | 1.3213 | 5 | 7.4488 | 6.6065 | 10 50 Top
23 | 0 50 B | 0 | 50 | B | 20.11.2023 | 1 | 3.66 | 0.2334 | 0 | 0.87341 | 0.6971 | 5 | 4.367 | 3.4855 | 0 50 Bottom
24 | 10 60 B | 10 | 60 | B | 20.11.2023 | 1 | 3.657 | 0.3291 | 0 | 1.3537 | 1.1836 | 5 | 6.7687 | 5.918 | 10 60 Bottom
25 | 10 70 B | 10 | 70 | B | 20.11.2023 | 1 | 3.66 | 1.6297 | 0 | 7.8817 | 7.7906 | 5 | 39.4083 | 38.953 | 10 70 Bottom
26 | 10 100 B | 10 | 100 | B | 20.11.2023 | 1 | 3.66 | 1.3182 | 0 | 6.3182 | 6.2083 | 5 | 31.591 | 31.0415 | 10 100 Bottom
27 | Cal Check |  |  |  | 20.11.2023 | 1 | 3.66 | 1.301 | 0 | 6.2319 | 6.1207 | 20 | 0 | 0 | x20 dil
28 | Blank |  |  |  | 20.11.2023 | 1 | 3.657 | 0.2214 | 0 | 0.81318 | 0.6362 | 0 | 0 | 0 | DI Water
Cal 1 | NA |  |  |  | 10.11.2023 | 1 | NA | NA | 0 | NA | NA | 0 | 0 | 0 | Instrument Issues
Cal 2 | Blank |  |  |  | 10.11.2023 | 1 | 3.67 | 0.0211 | 0 | -0.024031 | -0.0345 | 0 | 0 | 0 | DI Water
Cal 3 | x 5 |  |  |  | 10.11.2023 | 1 | 3.673 | 3.7856 | 20 | 20.0385 | 20.0431 | 5 | 0 | 0 | 1 mL in 5
Cal 4 | x 10 |  |  |  | 10.11.2023 | 1 | 3.67 | 1.8789 | 10 | 9.8769 | 9.874 | 10 | 0 | 0 | 0.5 mL in 5
Cal 5 | x 20 |  |  |  | 10.11.2023 | 1 | 3.67 | 0.9743 | 5 | 5.056 | 5.0492 | 20 | 0 | 0 | 0.5 mL in 10
Cal 6 | x 50 |  |  |  | 10.11.2023 | 1 | 3.67 | 0.4248 | 2 | 2.1275 | 2.1185 | 50 | 0 | 0 | 0.2 mL in 10
1 | x 100 |  |  |  | 10.11.2023 | 1 | 3.67 | 0.1992 | 1 | 0.92514 | 0.9152 | 100 | 0 | 0 | 0.1 mL in 10
2 | Blank |  |  |  | 10.11.2023 | 1 | 3.67 | 0.1344 | 0 | 0.57979 | 0.5696 | 0 | 0 | 0 | DI Water
3 | Cal Check |  |  |  | 10.11.2023 | 1 | 3.67 | 1.0947 | 0 | 5.6976 | 5.6914 | 20 | 0 | 0 | x20 dil
4 | 0-50-T | 0 | 50 | T | 10.11.2023 | 1 | 3.669 | 0.1744 | 0 | 0.79297 | 0.7832 | 10 | 7.9297 | 7.832 | 0 50 Top Replicate
7 | 0-70-B | 0 | 70 | B | 10.11.2023 | 1 | 3.663 | 0.1063 | 0 | 0.43003 | 0.4198 | 10 | 4.3003 | 4.198 | 0 70 Bottom
8 | 20-60-B | 20 | 60 | B | 10.11.2023 | 1 | 3.6657 | 0.0974 | 0 | 0.3826 | 0.3724 | 10 | 3.826 | 3.724 | 20 60 Bottom Replicate
11 | 20-70-B | 20 | 70 | B | 10.11.2023 | 1 | 3.67 | 0.164 | 0 | 0.73754 | 0.726 | 10 | 7.3754 | 7.26 | 20 80 Bottom
12 | 20-80-B | 20 | 80 | B | 10.11.2023 | 1 | 3.67 | 0.084 | 0 | 0.31119 | 0.302 | 10 | 3.1119 | 3.02 | 20 70 Bottom
13 | 20-90-T | 20 | 90 | T | 10.11.2023 | 1 | 3.67 | 0.11 | 0 | 0.44975 | 0.44 | 10 | 4.4975 | 4.4 | 20 90 Top
14 | PB |  |  |  | 10.11.2023 | 1 | 3.66 | 0.097 | 0 | 0.38047 | 0.368 | 0 | 0 | 0 | Procedural Blank
15 | Cal Check |  |  |  | 10.11.2023 | 1 | 3.67 | 1.113 | 0 | 5.7952 | 5.789 | 20 | 0 | 0 | x20 dil
16 | Blank |  |  |  | 10.11.2023 | 1 | 3.67 | 0.144 | 0 | 0.63095 | 0.62 | 0 | 0 | 0 | DI Water
Cal 1 | Blank |  |  |  | 23.11.2023 | 1 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | 0 | DI Water
Cal 2 | x 100 |  |  |  | 23.11.2023 | 1 | 7.15 | 0.1122 | 1 | 0.97184 | 1.04 | 100 | 0 | 0 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 23.11.2023 | 1 | 7.157 | 0.2738 | 2 | 2.1307 | 2.1928 | 50 | 0 | 0 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 23.11.2023 | 1 | 7.16 | 0.6404 | 5 | 4.7595 | 4.8075 | 20 | 0 | 0 | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 23.11.2023 | 1 | 7.173 | 1.3495 | 10 | 9.8445 | 9.8657 | 10 | 0 | 0 | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 23.11.2023 | 1 | 7.187 | 2.7833 | 20 | 20.1262 | 20.094 | 5 | 0 | 0 | 1 mL in 5
1 | Blank |  |  |  | 23.11.2023 | 1 | 7.143 | 0.0165 | 0 | 0.28558 | 0.3574 | 0 | 0 | 0 | DI Water
2 | Cal Check |  |  |  | 23.11.2023 | 1 | 7.17 | 0.7759 | 0 | 5.7312 | 5.7745 | 20 | 0 | 0 | x20 dil
3 | 20 10 T | 20 | 10 | T | 23.11.2023 | 1 | 7.153 | 0.0681 | 0 | 0.6556 | 0.7252 | 5 | 3.278 | 3.626 | 20 10 Top
4 | 20 40 T | 20 | 40 | T | 23.11.2023 | 1 | 7.15 | 0.0535 | 0 | 0.5509 | 0.6213 | 5 | 2.7545 | 3.1065 | 20 40 Top
5 | 20 50 T | 20 | 50 | T | 23.11.2023 | 1 | 7.153 | 0.0519 | 0 | 0.53943 | 0.6095 | 5 | 2.6971 | 3.0475 | 20 50 Top
6 | 20 60 T | 20 | 60 | T | 23.11.2023 | 1 | 7.16 | 0.0864 | 0 | 0.78683 | 0.8563 | 5 | 3.9341 | 4.2815 | 20 60 Top
7 | 20 70 T | 20 | 70 | T | 23.11.2023 | 1 | 7.157 | 0.0698 | 0 | 0.66779 | 0.7375 | 5 | 3.3389 | 3.6875 | 20 70 Top
8 | 20 80 T | 20 | 80 | T | 23.11.2023 | 1 | 7.153 | 0.0734 | 0 | 0.6936 | 0.7636 | 5 | 3.468 | 3.818 | 20 80 Top
9 | 20 100 T | 20 | 100 | T | 23.11.2023 | 1 | 7.153 | 0.0251 | 0 | 0.34725 | 0.4184 | 5 | 1.7362 | 2.092 | 20 100 Top
10 | 20 30 B | 20 | 30 | B | 23.11.2023 | 1 | 7.157 | 0.0536 | 0 | 0.55162 | 0.6222 | 5 | 2.7581 | 3.111 | 20 30 Bottom
11 | 20 90 B | 20 | 90 | B | 23.11.2023 | 1 | 7.16 | 0.1279 | 0 | 1.0844 | 1.1522 | 5 | 5.4221 | 5.761 | 20 90 Bottom
12 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | 7.213 | 0.2035 | 0 | 1.6265 | 1.691 | 5 | 8.1327 | 8.455 | 20 100 Bottom
13 | 10 90 T | 10 | 90 | T | 23.11.2023 | 1 | NA | NA | 0 | NA | NA | 25 | NA | NA | 10 90 Top diluted
14 | 20 100 B | 20 | 100 | B | 23.11.2023 | 1 | NA | NA | 0 | NA | NA | 25 | NA | NA | 20 100 Bottom diluted
15 | Cal Check |  |  |  | 23.11.2023 | 1 | 7.163 | 0.7062 | 0 | 5.2314 | 5.2775 | 0 | 0 | 0 | x20 dil
16 | Blank |  |  |  | 23.11.2023 | 1 | 7.14 | 0.0106 | 0 | 0.24327 | 0.3152 | 0 | 0 | 0 | DI Water
17 | Blank |  |  |  | 23.11.2023 | 1 | NA | NA | 0 | NA | NA | 0 | 0 | 0 | DI Water
Cal 1 | Blank |  |  |  | 17.11.2023 | 1 | 3.667 | 0.2872 | 0 | 1.1925 | 1.173 | 0 | 0 | 0 | DI Water
Cal 2 | x 100 |  |  |  | 17.11.2023 | 1 | 3.67 | 0.2394 | 1 | 0.94518 | 0.9254 | 100 | 0 | 0 | 0.1 mL in 10
Cal 3 | x 50 |  |  |  | 17.11.2023 | 1 | 3.673 | 0.3924 | 2 | 1.7367 | 1.7179 | 50 | 0 | 0 | 0.2 mL in 10
Cal 4 | x 20 |  |  |  | 17.11.2023 | 1 | 3.67 | 0.9031 | 5 | 4.3789 | 4.3638 | 20 | 0 | 0 | 0.5 mL in 10
Cal 5 | x 10 |  |  |  | 17.11.2023 | 1 | 3.677 | 1.8204 | 10 | 9.1247 | 9.116 | 10 | 0 | 0 | 0.5 mL in 5
Cal 6 | x 5 |  |  |  | 17.11.2023 | 1 | 3.68 | 4.0427 | 20 | 20.622 | 20.6293 | 5 | 0 | 0 | 1 mL in 5
1 | Blank |  |  |  | 17.11.2023 | 1 | 3.677 | 0.1019 | 0 | 0.23381 | 0.2128 | 0 | 0 | 0 | DI Water
2 | Cal Check |  |  |  | 17.11.2023 | 1 | 3.673 | 0.991 | 0 | 4.8337 | 4.8191 | 20 | 0 | 0 | x20 dil
3 | 20-20-T | 20 | 20 | T | 17.11.2023 | 1 | 3.669 | 0.3174 | 0 | 1.3487 | 2.2891 | 5 | 6.7436 | 11.4453 | 20 20 Top Mean Replicate
6 | 0-10-B | 0 | 10 | B | 17.11.2023 | 1 | 3.67 | 0.41573 | 0 | 1.8575 | 1.8388 | 5 | 9.2873 | 9.1938 | 0 10 B Mean Replicate
9 | 10-90-T | 10 | 90 | T | 17.11.2023 | 1 | 3.721 | 31.7285 | 0 | 163.8577 | 164.0626 | 5 | 819.2887 | 820.313 | 10 90 T Mean Replicate
12 | 0-10-T | 0 | 10 | T | 17.11.2023 | 1 | 3.67 | 0.5493 | 0 | 2.5485 | 2.531 | 5 | 12.7424 | 12.655 | 0 10 Top
13 | 0-20-T | 0 | 20 | T | 17.11.2023 | 1 | 3.67 | 0.3871 | 0 | 1.7093 | 1.6905 | 5 | 8.5466 | 8.4525 | 0 20 Top
14 | 0-30-T | 0 | 30 | T | 17.11.2023 | 1 | 3.667 | 0.3373 | 0 | 1.4517 | 1.4324 | 5 | 7.2584 | 7.162 | 0 30 Top
15 | Blank |  |  |  | 17.11.2023 | 1 | 3.667 | 0.1527 | 0 | 0.49663 | 0.4759 | 0 | 0 | 0 | DI Water
16 | Cal Check |  |  |  | 17.11.2023 | 1 | 3.67 | 1.104 | 0 | 5.4183 | 5.4046 | 20 | 0 | 0 | x20 dil
17 | 0-60-T | 0 | 60 | T | 17.11.2023 | 1 | 3.667 | 0.3852 | 0 | 1.6995 | 1.6804 | 5 | 8.4975 | 8.402 | 0 60 Top
18 | 0-70-T | 0 | 70 | T | 17.11.2023 | 1 | 3.67 | 0.281 | 0 | 1.1604 | 1.1407 | 5 | 5.802 | 5.7035 | 0 70 Top
19 | 0-80-T | 0 | 80 | T | 17.11.2023 | 1 | 3.67 | 0.4106 | 0 | 1.8309 | 1.8122 | 5 | 9.1545 | 9.061 | 0 80 Top
20 | 0-90-T | 0 | 90 | T | 17.11.2023 | 1 | 3.667 | 0.5006 | 0 | 2.2965 | 2.2786 | 5 | 11.4827 | 11.393 | 0 90 Top
21 | 0-100-T | 0 | 100 | T | 17.11.2023 | 1 | 3.67 | 0.3446 | 0 | 1.4894 | 1.4706 | 5 | 7.4472 | 7.353 | 0 100 Top
22 | 0-60-B | 0 | 60 | B | 17.11.2023 | 1 | 3.667 | 0.2478 | 0 | 0.98864 | 0.9687 | 5 | 4.9432 | 4.8435 | 0 60 Bottom
23 | 0-100-B | 0 | 100 | B | 17.11.2023 | 1 | 3.667 | 0.3747 | 0 | 1.6452 | 1.6265 | 5 | 8.2259 | 8.1325 | 0 100 Bottom
24 | 10-0-T | 10 | 0 | T | 17.11.2023 | 1 | 3.667 | 0.4274 | 0 | 1.9178 | 1.8993 | 5 | 9.5891 | 9.4965 | 10 0 Top
25 | 10-60-T | 10 | 60 | T | 17.11.2023 | 1 | 3.667 | 0.4319 | 0 | 1.9411 | 1.9226 | 5 | 9.7055 | 9.613 | 10 60 Top
26 | 10-70-T | 10 | 70 | T | 17.11.2023 | 1 | 3.667 | 0.4018 | 0 | 1.7854 | 1.7668 | 5 | 8.9269 | 8.834 | 10 70 Top
27 | 10-10-B | 10 | 10 | B | 17.11.2023 | 1 | 3.67 | 0.3706 | 0 | 1.624 | 1.605 | 5 | 8.1198 | 8.025 | 10 10 Bottom
28 | 10-50-B | 10 | 50 | B | 17.11.2023 | 1 | 3.667 | 0.3403 | 0 | 1.4672 | 1.4483 | 5 | 7.336 | 7.2415 | 10 50 Bottom
29 | Cal Check |  |  |  | 17.11.2023 | 1 | 3.67 | 1.264 | 0 | 6.2461 | 6.2338 | 20 | 0 | 0 | x20 dil
30 | Blank |  |  |  | 17.11.2023 | 1 | 3.667 | 0.2102 | 0 | 0.79411 | 0.7741 | 0 | 0 | 0 | DI Water

## Quality_Cl
Blank | [17 empty] | Peak Area |  | Calc Conc ppm |  | Measure conc ppm
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | c_Cl_calc_ppm | c_Cl_measure_ppm | dilution_factor | c_Cl_calc_undil_ppm | c_Cl_measure_undil_ppm | IC_notes |  | IC_date | LOD | LOQ | LOD | LOQ | LOD | LOQ
1 | Blank | 0 | 0 | 0 | 17.11.2023 | 1 | 3.677 | 0.1019 | 0 | 0.23381 | 0.2128 | 0 |  |  | DI Water |  | 17.11.2023 | 0.31749 | 0.69678 | 1.3492 | 3.3115 | 1.3301 | 3.2959
15 | Blank | 0 | 0 | 0 | 17.11.2023 | 1 | 3.667 | 0.1527 | 0 | 0.49663 | 0.4759 | 0 |  |  | DI Water |  | 10.11.2023 | 0.15956 | 0.20708 | 0.7139 | 0.96714 | 0.70171 | 0.95118
30 | Blank | 0 | 0 | 0 | 17.11.2023 | 1 | 3.667 | 0.2102 | 0 | 0.79411 | 0.7741 | 0 |  |  | DI Water |  | 23.11.2023 | 0.026066 | 0.055269 | 0.35417 | 0.56359 | 0.42582 | 0.6347
2 | Blank | 0 | 0 | 0 | 10.11.2023 | 1 | 3.67 | 0.1344 | 0 | 0.57979 | 0.5696 | 0 |  |  | DI Water |  | 20.11.2023 | 0.41669 | 0.90708 | 1.7934 | 4.2547 | 1.6286 | 4.1203
14 | PB | 0 | 0 | 0 | 10.11.2023 | 1 | 3.66 | 0.097 | 0 | 0.38047 | 0.368 | 0 |  |  | Procedural Blank
16 | Blank | 0 | 0 | 0 | 10.11.2023 | 1 | 3.67 | 0.144 | 0 | 0.63095 | 0.62 | 0 |  |  | DI Water |  | Mean | 0.22995 | 0.46655 | 1.0527 | 2.2742 | 1.0216 | 2.2505
1 | Blank | 0 | 0 | 0 | 23.11.2023 | 1 | 3.663 | 0.3778 | 0 | 1.8334 | 1.7551 | 0 |  |  | DI Water |  | Stdev | 0.1723 | 0.40148 | 0.64271 | 1.7919 | 0.55404 | 1.7213
16 | Blank | 0 | 0 | 0 | 23.11.2023 | 1 | 3.667 | 0.3182 | 0 | 1.5339 | 1.4539 | 0 |  |  | DI Water |  | RelStdev | 74.9271 | 86.0516 | 61.056 | 78.7926 | 54.2349 | 76.4825
17 | Blank | 0 | 0 | 0 | 23.11.2023 | 1 | 3.667 | 0.3443 | 0 | 1.665 | 1.5857 | 0 |  |  | DI Water |  | Var | 0.029686 | 0.16118 | 0.41308 | 3.211 | 0.30696 | 2.9628
1 | Blank | 0 | 0 | 0 | 20.11.2023 | 1 | 3.667 | 0.1035 | 0 | 0.22142 | 0.0372 | 0 |  |  | DI Water
15 | Blank | 0 | 0 | 0 | 20.11.2023 | 1 | 3.67 | 0.2494 | 0 | 0.95371 | 0.7784 | 0 |  |  | DI Water
19 | Blank | 0 | 0 | 0 | 20.11.2023 | 1 | 3.67 | 0.2518 | 0 | 0.96576 | 0.7909 | 0 |  |  | DI Water
28 | Blank | 0 | 0 | 0 | 20.11.2023 | 1 | 3.657 | 0.2214 | 0 | 0.81318 | 0.6362 | 0 |  |  | DI Water
LOD | [7 empty] | 0.496 |  | 2.4435 | 2.3421
LOQ | [7 empty] | 1.1675 |  | 6.1523 | 6.0018
Cal Checks
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | c_Cl_calc_ppm | c_Cl_measure_ppm | dilution_factor | c_Cl_calc_undil_ppm | c_Cl_measure_undil_ppm | IC_notes
2 | Cal Check | 0 | 0 | 0 | 20.11.2023 | 1 | 3.67 | 1.2357 | 0 | 5.9041 | 5.7889 | 20 |  |  | x20 dil
16 | Cal Check | 0 | 0 | 0 | 20.11.2023 | 1 | 3.673 | 1.2406 | 0 | 5.9287 | 5.814 | 20 |  |  | x20 dil
27 | Cal Check | 0 | 0 | 0 | 20.11.2023 | 1 | 3.66 | 1.301 | 0 | 6.2319 | 6.1207 | 20 |  |  | x20 dil
3 | Cal Check | 0 | 0 | 0 | 10.11.2023 | 1 | 3.67 | 1.0947 | 0 | 5.6976 | 5.6914 | 20 |  |  | x20 dil
15 | Cal Check | 0 | 0 | 0 | 10.11.2023 | 1 | 3.67 | 1.113 | 0 | 5.7952 | 5.789 | 20 |  |  | x20 dil
2 | Cal Check | 0 | 0 | 0 | 23.11.2023 | 1 | 3.67 | 1.2968 | 0 | 6.4527 | 6.4011 | 20 |  |  | x20 dil
15 | Cal Check | 0 | 0 | 0 | 23.11.2023 | 1 | 3.667 | 1.6307 | 0 | 8.131 | 8.089 | 0 |  |  | x20 dil
2 | Cal Check | 0 | 0 | 0 | 17.11.2023 | 1 | 3.673 | 0.991 | 0 | 4.8337 | 4.8191 | 20 |  |  | x20 dil
16 | Cal Check | 0 | 0 | 0 | 17.11.2023 | 1 | 3.67 | 1.104 | 0 | 5.4183 | 5.4046 | 20 |  |  | x20 dil
29 | Cal Check | 0 | 0 | 0 | 17.11.2023 | 1 | 3.67 | 1.264 | 0 | 6.2461 | 6.2338 | 20 |  |  | x20 dil
Mean | [6 empty] | 3.6693 | 3.6693 |  | 6.0639 | 6.0152
Median | [6 empty] | 3.67 | 1.2382 |  | 5.9164 | 5.8015
Stdev | [6 empty] | 0.0036833 | 0.17521 |  | 0.86062 | 0.85373
RelStdev | [6 empty] | 0.10038 | 4.7749 |  | 14.1925 | 14.193
Var | [6 empty] | 1.3567e-05 | 0.030697 |  | 0.74067 | 0.72885
Max | [6 empty] | 3.673 | 1.6307 |  | 8.131 | 8.089
Min | [6 empty] | 3.66 | 0.991 |  | 4.8337 | 4.8191
Range | [6 empty] | 0.013 | 0.6397 |  | 3.2974 | 3.2699
Number | [6 empty] | 10 | 10 |  | 10 | 10
Std Error | [6 empty] | 0.0011648 | 0.055405 |  | 0.27215 | 0.26997
20 Cal Standards
Cal 4 | x 20 | 0 | 0 | 0 | 17.11.2023 | 1 | 3.67 | 0.9031 | 5 | 4.3789 | 4.3638 | 20 | 0 | 0 | 0.5 mL in 10
Cal 4 | x 20 | 0 | 0 | 0 | 23.11.2023 | 1 | 3.667 | 0.9472 | 5 | 4.6955 | 4.6338 | 20 | 0 | 0 | 0.5 mL in 10
Cal 5 | x 20 | 0 | 0 | 0 | 10.11.2023 | 1 | 3.67 | 0.9743 | 5 | 5.056 | 5.0492 | 20 | 0 | 0 | 0.5 mL in 10
Cal 4 | x 20 | 0 | 0 | 0 | 20.11.2023 | 1 | 3.667 | 0.9349 | 5 | 4.3943 | 4.2611 | 20 | 0 | 0 | 0.5 mL in 10
Mean | [6 empty] | 3.6685 | 0.93988 |  | 4.6312 | 4.577
Median | [6 empty] | 3.6685 | 0.94105 |  | 4.5449 | 4.4988
Stdev | [6 empty] | 0.0017321 | 0.029529 |  | 0.31849 | 0.35187
RelStdev | [6 empty] | 0.047214 | 3.1418 |  | 6.877 | 7.6879
Var | [6 empty] | 3e-06 | 0.00087196 |  | 0.10143 | 0.12382
Max | [6 empty] | 3.67 | 0.9743 |  | 5.056 | 5.0492
Min | [6 empty] | 3.667 | 0.9031 |  | 4.3789 | 4.2611
Range | [6 empty] | 0.003 | 0.0712 |  | 0.67705 | 0.7881
Number | [6 empty] | 4 | 4 |  | 4 | 4
Std Error | [6 empty] | 0.00086603 | 0.014765 |  | 0.15924 | 0.17594
Accuracy
| Calc Conc | Measure Conc | Certificate | Certificate Uncertainty | Certificate Diluted | % Accuracy Measure | % Accuracy Calc
20 Cal Std (Dionex Seven Anion Standard II LOT 18-29JKS)x20 | 6.0639 | 6.0152 | 100 | 1 | 5 | 120.3032 | 121.2785
20 Cal Check (Dionex Seven Anion Standard II LOT 43-23AJ)x20 | 4.6312 | 4.577 | 100 | 1 | 5 | 91.5395 | 92.6235
| Peak Area 20 Calib | Peak Area 20 Cal Checks | Calc Conc 20 Calib | Measure Conc 20 Calib | Calc Conc 20 Cal Checks | Measure Conc 20 Cal Checks | % Accuracy Peak | % Accuracy Measure | % Accuracy Calc
Internal accuracy | 0.93988 | 3.6693 | 4.6312 | 4.577 | 6.0639 | 6.0152 | 25.6146 | 76.3726 | 76.0907
Triplicates
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | ret_time_min | peak_area_usmin | c_Cl_ calib_ppm | c_Cl_calc_ppm | c_Cl_measure_ppm
4 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | 3.67 | 0.1375 |  | 0.59631 | 0.5866
5 | 0-50-T-b | 0 | 50 | Tb | 17.11.2023 | 1 | 3.67 | 0.152 |  | 0.67359 | 0.6637
6 | 0-50-T-c | 0 | 50 | Tc | 17.11.2023 | 1 | 3.667 | 0.2337 |  | 1.109 | 1.0993
8 | 20-60-B-a | 20 | 60 | Ba | 17.11.2023 | 1 | 3.663 | 0.0943 |  | 0.36608 | 0.3558
9 | 20-60-B-b | 20 | 60 | Bb | 17.11.2023 | 1 | 3.667 | 0.0952 |  | 0.37088 | 0.3608
10 | 20-60-B-c | 20 | 60 | Bc | 17.11.2023 | 1 | 3.667 | 0.1027 |  | 0.41085 | 0.4006
3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | 3.67 | 0.2965 |  | 1.2406 | 4.0999
4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | 3.67 | 0.3223 |  | 1.3741 | 1.3549
5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | 3.667 | 0.3334 |  | 1.4315 | 1.4124
6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | 3.67 | 0.4122 |  | 1.8392 | 1.8205
7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | 3.67 | 0.4161 |  | 1.8594 | 1.8407
8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | 3.67 | 0.4189 |  | 1.8738 | 1.8551
9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | 3.72 | 31.5482 |  | 162.9249 | 163.1286
10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | 3.723 | 31.7604 |  | 164.0228 | 164.2279
11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | 3.72 | 31.8769 |  | 164.6255 | 164.8313
sample_no | sample_id | X | Y | B_T | IC_date | V_sample_ml | Variable | Mean | Median | Stdev | RelStdev | Var | Max | Min | Range | Number | Std Error
4 | 0-50-T-a | 0 | 50 | Ta | 10.11.2023 | 1 | peak_area_usmin | 0.1744 | 0.152 | 0.051865 | 29.7388 | 0.0026899 | 0.2337 | 0.1375 | 0.0962 | 3 | 0.029944
5 | 0-50-T-b | 0 | 50 | Tb | 17.11.2023 | 1 | c_Cl_calc_ppm | 0.79297 | 0.67359 | 0.27641 | 34.8574 | 0.076401 | 1.109 | 0.59631 | 0.51269 | 3 | 0.15958
6 | 0-50-T-c | 0 | 50 | Tc | 17.11.2023 | 1 | c_Cl_measure_ppm | 0.7832 | 0.6637 | 0.27645 | 35.2977 | 0.076426 | 1.0993 | 0.5866 | 0.5127 | 3 | 0.15961
8 | 20-60-B-a | 20 | 60 | Ba | 17.11.2023 | 1 | peak_area_usmin | 0.0974 | 0.0952 | 0.0046119 | 4.7351 | 2.127e-05 | 0.1027 | 0.0943 | 0.0084 | 3 | 0.0026627
9 | 20-60-B-b | 20 | 60 | Bb | 17.11.2023 | 1 | c_Cl_calc_ppm | 0.3826 | 0.37088 | 0.024579 | 6.4241 | 0.00060412 | 0.41085 | 0.36608 | 0.044767 | 3 | 0.014191
10 | 20-60-B-c | 20 | 60 | Bc | 17.11.2023 | 1 | c_Cl_measure_ppm | 0.3724 | 0.3608 | 0.02455 | 6.5923 | 0.00060268 | 0.4006 | 0.3558 | 0.0448 | 3 | 0.014174
3 | 20-20-Ta | 20 | 20 | Ta | 17.11.2023 | 1 | peak_area_usmin | 0.3174 | 0.3223 | 0.018932 | 5.9646 | 0.00035841 | 0.3334 | 0.2965 | 0.0369 | 3 | 0.01093
4 | 20-20-Tb | 20 | 20 | Tb | 17.11.2023 | 1 | c_Cl_calc_ppm | 1.3487 | 1.3741 | 0.097945 | 7.2621 | 0.0095933 | 1.4315 | 1.2406 | 0.19091 | 3 | 0.056549
5 | 20-20-Tc | 20 | 20 | Tc | 17.11.2023 | 1 | c_Cl_measure_ppm | 2.2891 | 1.4124 | 1.5685 | 68.521 | 2.4602 | 4.0999 | 1.3549 | 2.745 | 3 | 0.90557
6 | 0-10-Ba | 0 | 10 | Ba | 17.11.2023 | 1 | peak_area_usmin | 0.41573 | 0.4161 | 0.003365 | 0.80942 | 1.1323e-05 | 0.4189 | 0.4122 | 0.0067 | 3 | 0.0019428
7 | 0-10-Bb | 0 | 10 | Bb | 17.11.2023 | 1 | c_Cl_calc_ppm | 1.8575 | 1.8594 | 0.017409 | 0.93726 | 0.00030308 | 1.8738 | 1.8392 | 0.034663 | 3 | 0.010051
8 | 0-10-Bc | 0 | 10 | Bc | 17.11.2023 | 1 | c_Cl_measure_ppm | 1.8388 | 1.8407 | 0.017381 | 0.94524 | 0.00030209 | 1.8551 | 1.8205 | 0.0346 | 3 | 0.010035
9 | 10-90-Ta | 10 | 90 | Ta | 17.11.2023 | 1 | peak_area_usmin | 31.7285 | 31.7604 | 0.16666 | 0.52526 | 0.027774 | 31.8769 | 31.5482 | 0.3287 | 3 | 0.096219
10 | 10-90-Tb | 10 | 90 | Tb | 17.11.2023 | 1 | c_Cl_calc_ppm | 163.8577 | 164.0228 | 0.86221 | 0.5262 | 0.74341 | 164.6255 | 162.9249 | 1.7006 | 3 | 0.4978
11 | 10-90-Tc | 10 | 90 | Tc | 17.11.2023 | 1 | c_Cl_measure_ppm | 164.0626 | 164.2279 | 0.8633 | 0.5262 | 0.74529 | 164.8313 | 163.1286 | 1.7027 | 3 | 0.49843
Note on G62: KNOBLAUCH Alexandra: Measured Conc/Certificate Diluted Conc * 100%
Note on I66: KNOBLAUCH Alexandra: Measured Conc Calib/Measure Conc Calib Check * 100%
Note on A67: KNOBLAUCH Alexandra: Compare 20 Calib to mean of 20 Cal checks